## ELEC ESTIMATE
[12 empty] | MANHOUR UNIT RATE |  | 70
SR. NO. | DESCRIPTION | QUANTITY | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT MAT COST | UNIT | MATERIAL COST | MANHOURS UNIT RATE | UNIT LABOUR | UNIT | TOTAL LABOR COST | MANHOURS | TOTAL TRADE COST
ELECTRICAL WORK
CONDUITS
1 | 1-1/4" EMT C | 466 | 10% | 512.6 | FT
2 | 1-1/2 EMT C | 301.3902 | 10% | 331.5292 | FT
3 | 1" EMT C | 673 | 10% | 740.3 | FT
4 | 2" EMT C | 302 | 10% | 332.2 | FT
5 | 2-1/2" EMT C | 29.72 | 10% | 32.692 | FT
6 | 3" EMT C | 93 | 10% | 102.3 | FT
7 | 3-1/2" EMT C | 405.12 | 10% | 445.632 | FT
8 | 3-1/2" PVC C | 541.8 | 10% | 595.98 | FT
CONDUCTORS
1 | 4#3/0 | 100 | 10% | 110 | FT
3 | 4#500 KCMIL | 292 | 10% | 321.2 | FT
5 | 3#1/0 | 301.3902 | 10% | 331.5292 | FT
6 | 3#2 | 316 | 10% | 347.6 | FT
9 | 3#4 | 168.07 | 10% | 184.877 | FT
10 | 3#3 | 45 | 10% | 49.5 | FT
11 | 3#4 | 134.7883 | 10% | 148.2671 | FT
12 | 3#6 | 20.56 | 10% | 22.616 | FT
13 | 4#1 | 45 | 10% | 49.5 | FT
14 | 4#1/0 | 18.7036 | 10% | 20.574 | FT
15 | 4#250 KCMIL | 29.72 | 10% | 32.692 | FT
16 | 4#3 | 60.33 | 10% | 66.363 | FT
17 | 4#3/0 | 183.54 | 10% | 201.894 | FT
18 | 4#350 KCMIL | 93 | 10% | 102.3 | FT
19 | 4#6 | 350 | 10% | 385 | FT
20 | 4#600 KCMIL | 40 | 10% | 44 | FT
21 | 4#400KCMIL | 615 | 10% | 676.5 | FT
23 | #3 | 140 | 10% | 154 | FT
24 | #1 | 48 | 10% | 52.8 | FT
25 | #1/0 | 292 | 10% | 321.2 | FT
26 | #6 | 987 | 10% | 1085.7 | FT
27 | #8 | 592 | 10% | 651.2 | FT
28 | #10 | 66 | 10% | 72.6 | FT
29 | #4 | 75 | 10% | 82.5 | FT
CIRCUIT BREAKERS
1 | 15A/1P Breaker | 7 | 0% | 7 | EA
2 | 15A/2P Breaker | 1 | 0% | 1 | EA
3 | 15A/3P Breaker | 2 | 0% | 2 | EA
4 | 20A/1P Breaker | 385 | 0% | 385 | EA
5 | 20A/2P Breaker | 6 | 0% | 6 | EA
6 | 20A/3P Breaker | 9 | 0% | 9 | EA
7 | 25A/2P Breaker | 2 | 0% | 2 | EA
8 | 25A/3P Breaker | 17 | 0% | 17 | EA
9 | 30A/1P Breaker | 1 | 0% | 1 | EA
10 | 30A/2P Breaker | 9 | 0% | 9 | EA
11 | 30A/3P Breaker | 4 | 0% | 4 | EA
12 | 35A/3P Breaker | 1 | 0% | 1 | EA
13 | 40A/3P Breaker | 10 | 0% | 10 | EA
14 | 45A/3P Breaker | 2 | 0% | 2 | EA
15 | 50A/3P Breaker | 4 | 0% | 4 | EA
16 | 60A/3P Breaker | 4 | 0% | 4 | EA
17 | 70A/3P Breaker | 4 | 0% | 4 | EA
18 | 90A/3P Breaker | 1 | 0% | 1 | EA
19 | 100A/3P Breaker | 5 | 0% | 5 | EA
20 | 110A/3P Breaker | 2 | 0% | 2 | EA
21 | 125A/3P Breaker Shunt Trip | 3 | 0% | 3 | EA
22 | 150A/3P Breaker | 3 | 0% | 3 | EA
23 | 200A/3P Breaker | 1 | 0% | 1 | EA
24 | 300A/3P Breaker (100% Rated) | 1 | 0% | 1 | EA
25 | 300A/3P Breaker | 1 | 0% | 1 | EA
26 | 600A/3P Breaker | 1 | 0% | 1 | EA
27 | 700A/3P Breaker | 1 | 0% | 1 | EA
28 | 1600A/3P GFCI | 1 | 0% | 1 | EA
PANELS
1 | Radiology Dist Panel RDP1 600A MLO 480Y/277V, 3PH, 4W 35K AIC SQUARE D I-LINE TYPE HON (74"H x 26"Wx6.5"D) | 1 | 0% | 1 | EA
2 | H1- 100A MLO 480Y/277V, 3PH, 4 Wire Surface Mounted | 1 | 0% | 1 | EA
| #10 TO #12x 1 PLAS ANCHOR (1/4) | 4 | 0% | 4 | EA
| #10x 1 P/H SELF-TAP SCREW | 4 | 0% | 4 | EA
3 | HVAC1 400A MLO 480Y/277V, 3PH, 4Wire Surface Mounted | 1 | 0% | 1 | EA
| #10 TO #12x 1 PLAS ANCHOR (1/4) | 4 | 0% | 4 | EA
| #10x 1 P/H SELF-TAP SCREW | 4 | 0% | 4 | EA
4 | L1- 250A MCB 208Y/120V, 3PH, 4Wire Surface Mounted | 1 | 0% | 1 | EA
| #10 TO #12x 1 PLAS ANCHOR (1/4) | 4 | 0% | 4 | EA
| #10x 1 P/H SELF-TAP SCREW | 4 | 0% | 4 | EA
5 | L2- 250A MCB 208Y/120V, 3PH, 4Wire Surface Mounted | 1 | 0% | 1 | EA
| #10 TO #12x 1 PLAS ANCHOR (1/4) | 4 | 0% | 4 | EA
| #10x 1 P/H SELF-TAP SCREW | 4 | 0% | 4 | EA
6 | L3- 150A MCB 208Y/120V, 3PH, 4Wire Surface Mounted | 1 | 0% | 1 | EA
| #10 TO #12x 1 PLAS ANCHOR (1/4) | 4 | 0% | 4 | EA
| #10x 1 P/H SELF-TAP SCREW | 4 | 0% | 4 | EA
7 | EDP1 800A 480/277, 3P, 4W 35kAIC Square D I-LINE Type Type HCM Type HCP (82"H X 42"W X 9.5"D) with Transient Voltage Surge Suppressor | 1 | 0% | 1 | EA
| #10 TO #12x 1 PLAS ANCHOR (1/4) | 4 | 0% | 4 | EA
| #10x 1 P/H SELF-TAP SCREW | 4 | 0% | 4 | EA
| #10 TO #12x 1 PLAS ANCHOR (1/4) | 16 | 0% | 16 | EA
| #10x 1 P/H SELF-TAP SCREW | 16 | 0% | 16 | EA
8 | EQH1 200A MLO 480Y/277V, 3PH, 4Wire 18KAIC Surface Mounted | 1 | 0% | 1 | EA
| #10 TO #12x 1 PLAS ANCHOR (1/4) | 4 | 0% | 4 | EA
| #10x 1 P/H SELF-TAP SCREW | 4 | 0% | 4 | EA
9 | EHVAC1 400A MLO 480Y/277V, 3PH, 4Wire 30KAIC Surface Mounted | 1 | 0% | 1 | EA
| #10 TO #12x 1 PLAS ANCHOR (1/4) | 4 | 0% | 4 | EA
| #10x 1 P/H SELF-TAP SCREW | 4 | 0% | 4 | EA
10 | EH1 100A MLO 480Y/277V, 3PH, 4Wire 18KAIC Surface Mounted | 1 | 0% | 1 | EA
| #10 TO #12x 1 PLAS ANCHOR (1/4) | 4 | 0% | 4 | EA
| #10x 1 P/H SELF-TAP SCREW | 4 | 0% | 4 | EA
11 | EL1- 100A MCB 208Y/120V, 3PH, 4Wire 10KAIC Surface Mounted | 1 | 0% | 1 | EA
| #10 TO #12x 1 PLAS ANCHOR (1/4) | 4 | 0% | 4 | EA
| #10x 1 P/H SELF-TAP SCREW | 4 | 0% | 4 | EA
12 | EL2A- 300A MCB 208Y/120V, 3PH, 4Wire 10K AIC Surface Mounted | 1 | 0% | 1 | EA
| #10 TO #12x 1 PLAS ANCHOR (1/4) | 4 | 0% | 4 | EA
| #10x 1 P/H SELF-TAP SCREW | 4 | 0% | 4 | EA
13 | EL2B- 300A MCB 208Y/120V, 3PH, 4Wire 10K AIC Surface Mounted | 1 | 0% | 1 | EA
| #10 TO #12x 1 PLAS ANCHOR (1/4) | 4 | 0% | 4 | EA
| #10x 1 P/H SELF-TAP SCREW | 4 | 0% | 4 | EA
14 | EL2A1- 100A MLO 208Y/120V, 3PH, 4Wire 10K AIC Surface Mounted | 1 | 0% | 1 | EA
| #10 TO #12x 1 PLAS ANCHOR (1/4) | 4 | 0% | 4 | EA
| #10x 1 P/H SELF-TAP SCREW | 4 | 0% | 4 | EA
15 | Panel House (No Details are Shown, there isn't any Schedule given for this panel, it is being shown on riser) | 1 | 0% | 1 | EA
16 | Panel House 2 (No Details are Shown, there isn't any Schedule given for this panel, it is being shown on riser) | 1 | 0% | 1 | EA
17 | LP-D (No Details are Shown, there isn't any Schedule given for this panel, it is being shown on riser) | 1 | 0% | 1 | EA
18 | LP-D1 (No Details are Shown, there isn't any Schedule given for this panel, it is being shown on riser) | 1 | 0% | 1 | EA
19 | LP-E (No Details are Shown, there isn't any Schedule given for this panel, it is being shown on riser) | 1 | 0% | 1 | EA
20 | MSB1 1600A 480V/277V 3P 4W 65kAIC Square D Type QED withTransient Voltage Surge Suppressor | 1 | 0% | 1 | EA
21 | PP1-911A (No Details are Shown, there isn't any Schedule given for this panel, it is being shown on riser) | 1 | 0% | 1 | EA
22 | PP1-911B (No Details are Shown, there isn't any Schedule given for this panel, it is being shown on riser) | 1 | 0% | 1 | EA
23 | Panel "SUB" (No Details are Shown, there isn't any Schedule given for this panel, it is being shown on riser) | 1 | 0% | 1 | EA
DEVICES
1 | 112.5kVA 480V 3P 208Y/120V 3P 4W Transformer | 1 | 0% | 1 | EA
2 | 30kVA 480V 3P 208Y/120V 3P 4W Transformer | 3 | 0% | 3 | EA
3 | 45kVA 480V 3P 208Y/120V 3P 4W Transformer | 1 | 0% | 1 | EA
4 | 75kVA 480V 3P 208Y/120V 3P 4W Transformer | 4 | 0% | 4 | EA
5 | 80kVA 480V 3P 208Y/120V 3P 4W Transformer | 1 | 0% | 1 | EA
6 | New PSEG Utility Pad Mounted Transformer (Coordinate with Utility) | 1 | 0% | 1 | EA
7 | 500VA Transformer, 120x240V Primary, 16/32V Secondary, 1P Nema 1 Enclosure | 1 | 0% | 1 | EA
8 | 50VA, 120V-24V, 1P Transformer, NEMA 1 Enclosue. Provide W/ 1A Primary Fuse and 3A Secondary Fuse | 2 | 0% | 2 | EA
9 | 750VA Transformer, 120x240V Primary, 16/32V Secondary, 1P Nema 1 Enclosure | 3 | 0% | 3 | EA
10 | 75VA, 120V-24V, Transformer, 1P NEMA 1 Enclosue. Provide W/ 1.5A Primary Fuse and 5A Secondary Fuse | 2 | 0% | 2 | EA
11 | Concrete Pad W/ Vibration/Isolators | 1 | 0% | 1 | EA
12 | Current Transforemer 150KVA ( Momentary), 25KVA (Continuos) | 1 | 0% | 1 | EA
13 | Halcyon Console Cabinet | 1 | 0% | 1 | EA
14 | HALCYON Stand PDU | 1 | 0% | 1 | EA
15 | Inverter 1 | 1 | 0% | 1 | EA
16 | PD/MR3 (Legend Not Given) | 1 | 0% | 1 | EA
17 | PDU(PM) (Legend Not Given) | 1 | 0% | 1 | EA
18 | Power Conditioner/ Voltage Regulator PC-CT 260KVA, 480 Delta Input, 277/480V WYE Output | 1 | 0% | 1 | EA
19 | Power Conditioner/ Voltage Regulator PC-LA: Transtector 8DNX-60K(I)-700AV/T, 60KVA, 480V Delta Input 277/480 WYE Output | 1 | 0% | 1 | EA
20 | Relocated Sump Pump Controller 1/2HP, 208V, 1P | 1 | 0% | 1 | EA
21 | Sewage Ejector ES1, 1-1/2HP (Duplex), 460V, 3P | 1 | 0% | 1 | EA
22 | Step Down transformer Max. 60KVA, Continuos 30kVA | 1 | 0% | 1 | EA
GROUNDING
1 | #2 Bare Copper Ground Electrode | 50 | 0% | 50 | EA
2 | #2/0 Service Ground Electrode | 50 | 0% | 50 | EA
3 | #3/0 CU Service Ground Electrode | 50 | 0% | 50 | EA
4 | Ground Bus Bar | 1 | 0% | 1 | EA
5 | Neutral Bus Bar | 1 | 0% | 1 | EA
3
LOW VOLTAGE AND OTHER ELELCTRICAL DEVICES
DEVICES
1 | Closed Transition 800A 480V 3P 4W 4-Pole 35kAIC Min ASCO Series 4000 Automatic Transfer Switch | 1 | 0% | 1 | EA
2 | EMG1 450KW 562.5kVA 480/277V 3P 4W 700A 3P MCB 35kAIC Generator | 1 | 0% | 1 | EA
3 | Meter in Utility Company CT Cabinet (Coordinate with Utility) | 1 | 0% | 1 | EA
4 | Utility Co. Sub Meter (Coordinate with Utility) | 1 | 0% | 1 | EA
5 | Utility Co. Sub Meter in CT Cabinet (Coordinate with Utility) | 3 | 0% | 3 | EA
6 | ES1 Control Systems with 2X 1-1/2 HP Motors (Assumed Furnished, Wired and Installed by Others) | 1 | 0% | 1 | EA
7 | Access Control Panel | 1 | 0% | 1 | EA
8 | GE E4502RL X-Ray Room Warning Light Control Panel | 1 | 0% | 1 | EA
9 | Generator Annunciator Panel | 1 | 0% | 1 | EA
10 | MGA Panel | 1 | 0% | 1 | EA
11 | MRI QQP MDC: MRI Main Disconnect Control Panel | 1 | 0% | 1 | EA
12 | Relocated Temperature Control Panels | 2 | 0% | 2 | EA
13 | Remote Chiller Monitoring Panel | 1 | 0% | 1 | EA
14 | Medical Gas Alarm Panel | 6 | 0% | 6 | EA
15 | Sewage Ejector SE1 Control Panel | 1 | 0% | 1 | EA
16 | Varian Halycon MDP Panel Per Varian Requirements | 1 | 0% | 1 | EA
RECEPTACLES AND SWITCHES
CONDUITS
1 | 1/2" EMT Conduit | 1496 | 10% | 1645.6 | FT
2 | 1/2" PVC Conduit | 29.01 | 10% | 31.911 | FT
3 | 3/4" Empty EMT Conduit W/ Pull String | 84.93 | 10% | 93.423 | FT
4 | 3/4" EMT Conduit | 31887 | 10% | 35075.7 | FT
5 | 3/4" PVC Conduit | 1.21 | 10% | 1.331 | FT
6 | 3/4" RGS Conduit | 3500 | 10% | 3850 | FT
7 | 1" EMT Conduit | 3336 | 10% | 3669.6 | FT
8 | 1" EMT Conduit (Assumed Length) | 20.27 | 10% | 22.297 | FT
9 | 1" RGS Conduit | 29.02 | 10% | 31.922 | FT
10 | 1-1/2" EMT Conduit | 20.03 | 10% | 22.033 | FT
11 | 1-1/2" EMT Conduit (Assumed Length) | 20.14 | 10% | 22.154 | FT
12 | 1-1/4" EMT Conduit | 77 | 10% | 84.7 | FT
13 | 1-1/4" RGS Conduit | 252.28 | 10% | 277.508 | FT
14 | 2" EMT Conduit | 80 | 10% | 88 | FT
15 | 2" EMT Conduit (Assumed Length) | 29.58 | 10% | 32.538 | FT
16 | 2" PVC Conduit | 188.02 | 10% | 206.822 | FT
17 | 2" PVC Conduit (Assumed Length) | 32.74 | 10% | 36.014 | FT
18 | 2-1/2" PVC Conduit | 36.27 | 10% | 39.897 | FT
19 | 3" EMT Conduit | 14.38 | 10% | 15.818 | FT
20 | 3" PVC Conduit | 26.28 | 10% | 28.908 | FT
21 | 3-1/2" PVC Conduit | 28.71 | 10% | 31.581 | FT
22 | 4" PVC Conduit | 25.09 | 10% | 27.599 | FT
22 | 4" EMT Conduit | 501 | 10% | 551.1 | FT
CONDUCTORS
1 | #20 Plenum Rated Cable | 78.94 | 10% | 86.834 | FT
2 | #14 | 430.25 | 10% | 473.275 | FT
3 | 2#12, 1#12G MC Cable | 975.73 | 10% | 1073.303 | FT
4 | 2#12, 1#12G | 12736 | 10% | 14009.6 | FT
5 | 6#12, 8#12 | 29.02 | 10% | 31.922 | FT
6 | 2#10, 1#10G | 20127.42 | 10% | 22140.162 | FT
7 | 4#12 | 324 | 10% | 356.4 | FT
8 | 3#10, 1#10G (Assumed Length) | 123 | 10% | 135.3 | FT
9 | 4#10 | 2700 | 10% | 2970 | FT
10 | 2#8, 1#10G | 2642.89 | 10% | 2907.179 | FT
11 | 3#8, 1#10G | 329 | 10% | 361.9 | FT
12 | 1#6G | 35.12 | 10% | 38.632 | FT
13 | 3#6, 1#10G | 968 | 10% | 1064.8 | FT
14 | 3#4, 1#8G | 303.77 | 10% | 334.147 | FT
15 | 3#3, 1#3G | 26.4 | 10% | 29.04 | FT
16 | 4#3, 1#3G | 33 | 10% | 36.3 | FT
17 | 3#2, 1#1/0G (Assumed Length) | 20.14 | 10% | 22.154 | FT
18 | 3#1/0, 1#1/0G (Assumed Length) | 29.58 | 10% | 32.538 | FT
19 | 4#1/0, #1/0G (Assumed Length) | 32.74 | 10% | 36.014 | FT
20 | Cord | 459.96 | 10% | 505.956 | FT
STUBS
1 | 4" EMT Stub | 2 | 0% | 2 | EA
DEVICES
1 | Special Outlet On Emergency Power | 2 | 0% | 2 | EA
2 | 20A, 125V GFI Duplex Receptacle | 23 | 0% | 23 | EA
3 | 20A, 125V GFI Double Duplex Receptacle On Emergency Power | 23 | 0% | 23 | EA
4 | Energy Power Off Switch | 12 | 0% | 12 | EA
5 | 20A, 125V Double Duplex Receptacle On Emergency Power | 76 | 0% | 76 | EA
6 | 20A, 125V Duplex Receptacle | 274 | 0% | 274 | EA
7 | 20A, 125V Double Duplex Receptacle | 115 | 0% | 115 | EA
8 | 20A, 125V Double Duplex Receptacle W/ Isolated Ground On Emergency Power | 1 | 0% | 1 | EA
9 | 20A, 125V Duplex Receptacle for Under Counter Dish Washer | 4 | 0% | 4 | EA
10 | 20A, 125V Duplex Receptacle On Emergency Power | 115 | 0% | 115 | EA
11 | 20A, 125V GFI Double Duplex Receptacle | 43 | 0% | 43 | EA
12 | 20A, 125V GFI Duplex Receptacle On Emergency Power | 16 | 0% | 16 | EA
13 | 20A, 125V Simplex Receptacle | 2 | 0% | 2 | EA
14 | 20A, 125V Weatherproof GFI Duplex Receptacle | 16 | 0% | 16 | EA
15 | 20A, 125V Weatherproof GFI Duplex Receptacle on Emergency Power | 8 | 0% | 8 | EA
16 | 20A, 250V, 2P, 3W, NEMA 6-20 Special Receptacle | 1 | 0% | 1 | EA
17 | 30A, 125/250V, 3P, 3W, NEMA 10-30 Receptacle | 2 | 0% | 2 | EA
18 | 30A, 125/250V, 3P, 4W, NEMA 14-30 | 2 | 0% | 2 | EA
19 | 30A, 250V, 2P, 3W NEMA 6-30 Duplex Receptacle | 2 | 0% | 2 | EA
20 | 4-Gand Recessed Steel Flush Floor Multiservice Box W/ (2) 20A, 125V Duplex Receptacle, Telecommunication System Jacks as Requred. MFG: HUBBELL #CFB2G30CR-24GCCVR*** Series | 3 | 0% | 3 | EA
21 | 50A, 250V, 3P, 4W NEMA 15-50 Receptacle | 1 | 0% | 1 | EA
22 | 5-20R Duplex Receptacle, Ceiling Mounted | 9 | 0% | 9 | EA
23 | Ceiling Mounted 20A, 125V, 2P, 3W, NEMA L5-20R Duplex Receptacle | 17 | 0% | 17 | EA
24 | Ceiling Mounted 20A, 125V, 2P, 3W, NEMA L5-20R Duplex Receptacle On Emergency Power | 18 | 0% | 18 | EA
25 | Differential Pressure Monitors | 10 | 0% | 10 | EA
26 | Individual Combination Motor W/ Pilot Light | 2 | 0% | 2 | EA
27 | Key Switches | 2 | 0% | 2 | EA
28 | Linac Control Console Power Receptacle, IEC 60309, 16A 250V | 1 | 0% | 1 | EA
29 | Manual Motor Controller | 11 | 0% | 11 | EA
30 | Manual Motor Controller With Pilot Light | 12 | 0% | 12 | EA
31 | Single Pole Switch, 1 HP | 18 | 0% | 18 | EA
32 | Single Pole Toggle Switch | 17 | 0% | 17 | EA
33 | Special Outlet | 2 | 0% | 2 | EA
34 | WP Single Pole Switch, 1 HP | 13 | 0% | 13 | EA
LIGHTING
CONDUITS
1 | 3/4" EMT Conduit | 15238.14 | 10% | 16761.954 | FT
2 | 3/4" RGS Conduit | 1186.47 | 10% | 1305.117 | FT
CONDUCTORS
1 | 3#12 | 13133.4 | 10% | 14446.74 | FT
2 | 3#10 | 5509.5 | 10% | 6060.45 | FT
LIGHTING FIXTURES
1 | S3: Led Vaportite Gasketed Fixture/Assembly For Wall Or Stanchion Mount As Required. Contractor To Coordinate Mounting Of Fixture With Riser Pole/Conduit With Switch & Receptacle Unit Off Rtu Or Associated Disonnect Switch. Mfr: HUBBELL, Model: VTC-5K-G-U-(W2/D4)-G-GR-VL15LG Mtg: TBD, Watts: 27.4W | 15 | 0% | 15 | EA
2 | A1: 2'X2' Architectural Recessed Led Troffer With Acrylic Prismatic Diffuser And White Steel Housing (PAINITED AFTER FABRICATION), Mfr: LITHONIA, Model: 2VTL2-48L-ADP-EZ1-LP840, Mtg: RECESSED, Watts: 38.3W | 3 | 0% | 3 | EA
3 | A1X:2'X4' Architectural Recessed Led Troffer With Acrylic Linear Prismatic Diffuser And White Steel Housing ( PAINTED AFTER FABRICATION) With Emergency Battery Pack Rated 1400 L For 90 Minute Minimum Operation, Mfr: LITHONIA, Model: 2VTL2-48L-ADP-EZ1-LP840-EL14L, Mtg: RECESSED, Watts: 38.3W | 2 | 0% | 2 | EA
4 | A2: 2'X4' Architectural Recessed Led Troffer With Acrylic Linear Prismatic Diffuser And White Steel Housing ( PAINTED AFTER FABRICATION) Mfr: LITHONIA, Model: 2VTL4-60L-ADP-EZ1-LP840 Mtg: RECESSED, Watts: 47.7W | 4 | 0% | 4 | EA
5 | A2 EM: 2'X4' Architectural Recessed Led Troffer With Acrylic Linear Prismatic Diffuser And White Steel Housing ( PAINTED AFTER FABRICATION) Mfr: LITHONIA, Model: 2VTL4-60L-ADP-EZ1-LP840 Mtg: RECESSED, Watts: 47.7W | 2 | 0% | 2 | EA
6 | A3: 2'X4' Architectural Recessed Led Troffer With Acrylic Linear Prismatic Diffuser And White Steel Housing ( PAINTED AFTER FABRICATION) Mfr: LITHONIA, Model: 2VTL4-72-ADP-EZ1-LP840, Mtg: RECESSED, Watts: 59.0W | 17 | 0% | 17 | EA
7 | A3 EM: 2'X4' Architectural Recessed Led Troffer With Acrylic Linear Prismatic Diffuser And White Steel Housing ( PAINTED AFTER FABRICATION) Mfr: LITHONIA, Model: 2VTL4-72-ADP-EZ1-LP840, Mtg: RECESSED, Watts: 59.0W | 2 | 0% | 2 | EA
8 | A3X: Same As Type A5 Except Provide With Integral Emergency Bsattery Back Pack Rated 1400L For 90 Minute Minimum Operation, Mfr: LITHONIA, Model: 2VTL4-72L-ADP-EZ1-LP840-EL14L Mtg: RECESSED, Watts: 59.0W | 4 | 0% | 4 | EA
9 | B1 EM: 2'X4' Recessed Led Troffer With 0.125'' Thick #12 Pattern Acrylic Lens White Steel Housing ( PAINTED AFTER FABRICATION) Flush Aluminium Door And Cam Latches, Mfr: LITHONIA, Model: 2TL4-48L-FW-A12-LP840, Mtg: RECESSED, Watts: 40W | 21 | 0% | 21 | EA
10 | B1X EM: 2'X4' Recessed Led Troffer With 0.125'' Thick #12 Pattern Acrylic Lens White Steel Housing (PAINTED AFTER FABRICATION)Flush Aluminium Door And Cam Latches Except Provide With Integral Emergency Battery Pack Rated 1400L For 90 Minute Miniute Minimum Operation, Mfr: LITHONIA, Model: 2TL4-48L-FW-A12-LP840-EL14L, Mtg: RECESSED, Watts: 40W | 9 | 0% | 9 | EA
11 | B2 EM: 2'X4' Recessed Led Troffer With 0.125'' Thick #12 Pattern Acrylic Lens White Steel Housing (PAINTED AFTER FABRICATION) Flush Aluminium Door And Cam Latches, Mfr: LITHONIA, Model: 2TL4-60L-FW-A12-LP840, Mtg: RECESSED, Watts: 47W | 37 | 0% | 37 | EA
12 | B2X EM: 2'X4' Recessed Led Troffer With 0.125'' Thick #12 pattern Acrylic Lens White Steel Housing, ( PAINTED AFTER FABRICATION)Flush Aluminium Door And Cam Latches, Provide With Integral Emergency Battery Pack Rated 1400LD For 90 Minute Minimum Operation, Mfr: LITHONIA, Model: 2TL4-60L-FW-A12-LP840-EL14L Mtg: RECESSED, Watts: 47W | 13 | 0% | 13 | EA
13 | B3: 2'X4' Recessed Led Troffer With 0.125'' Thick #12 pattern Acrylic Lens White Steel Housing, ( PAINTED AFTER FABRICATION)Flush Aluminium Door And Cam Latches Mfr: LITHONIA, Model: 2TL4-72L-FW-A12-LP840, Mtg: RECESSED, Watts: 67W | 14 | 0% | 14 | EA
14 | B3 EM: 2'X4' Recessed Led Troffer With 0.125'' Thick #12 pattern Acrylic Lens White Steel Housing, ( PAINTED AFTER FABRICATION)Flush Aluminium Door And Cam Latches Mfr: LITHONIA, Model: 2TL4-72L-FW-A12-LP840, Mtg: RECESSED, Watts: 67W | 11 | 0% | 11 | EA
15 | B3X EM : Same As Type B4 Except Provide With integral Emergency Battery Pack 1400L For 90 Minute Minimum Operation, Mfr: LITHONIA, Model: 2TL4-72L-FW-A12-LPLP840-EL14L, Mtg: RECESSED, Watts: 67W | 10 | 0% | 10 | EA
16 | C1FX: 2'X2' Recessed Led Edge Lit Flat Panel With Satin White Lens(FULLY LUMINIOUS APPERANCE) And Extruded Aluminium Seamless Frame. Provide With Drywal. Flange Kit Provide With Integral 10W Emergency Battery Unit Rated For 90 Miniutes Minimum Operation, Mfr: LITHONIA, Model: EPANL-2X2-3400LM-80CRI-40K-MIN1-EZT-E10WCP-GGA22, Mtg: RECESSED DYWALL, Watts: 33W | 1 | 0% | 1 | EA
17 | C2: 2'X2 Recessed Led Edge Lit Flat Panel With Satin White Lens(FULLY LUMINOUS APPERANCE) And Extruded Aluminium Seamless Frame, Mfr: LITHONIA, Model: EPANL-2X2-4000LM-80CRI-40K-MIN1-EZT-MVOLT Mtg: RECESSED, Watts: 32W | 1 | 0% | 1 | EA
18 | C3: 2'X4' Recessed Led Edge Lit Flat Panel With Satin White Lens( FULLY LUMINIOUS APPERANCE) And Extruded Aluminium Seamless Frame,Mfr: LITHONIA, Model: EPANL-2X2-4000LM-80CRI-40K-MIN1-EZT-MVOLT, Mtg: RECESSED, Watts: 39W | 29 | 0% | 29 | EA
19 | C3 EM: 2'X4' Recessed Led Edge Lit Flat Panel With Satin White Lens( FULLY LUMINIOUS APPERANCE) And Extruded Aluminium Seamless Frame,Mfr: LITHONIA, Model: EPANL-2X2-4000LM-80CRI-40K-MIN1-EZT-MVOLT, Mtg: RECESSED, Watts: 39W | 1 | 0% | 1 | EA
20 | C3X EM: 2'X4' Recessed Led Edge Lit Flat Panel With Satin White Lens( FULLY LUMINIOUS APPERANCE) And Extruded Aluminium Seamless Frame Except Provide With Integral 10W Emergency Battery Pack Rated 90 Minute Minium Operation, Mfr: LITHONIA, Model: EPANL-2X2-4000LM-80CRI-40K-MIN1-EZT-MVOLT-E10WCP, Mtg: RECESSED, Watts: 39W | 14 | 0% | 14 | EA
21 | C4: 2'X4' Recessed Led Edge Lit Flat Panel With Satin White Lens(FULLY LUMINIOUS APPERANCE) And Extruded Aluminium Seamless Frame, Mfr: LITHONIA, Model: EPANL-2X4-4800LM-80CRI-40K-MIN1-EZT-MVOLT Mtg: RECESSED, Watts: 47W | 27 | 0% | 27 | EA
22 | C4 EM | 13 | 0% | 13 | EA
23 | C4X EM: 2'X4' Recessed Led Edge Lit Flat Panel With Satin White Lens(FULLY LUMINIOUS APPERANCE) And Extruded Aluminium Seamless Frame, Except Provide With Integral 10W Emergency Battery Pack Rated For 90 Minute Minimum Operation, Mfr: LITHONIA, Model: EPANL-2X4-4800LM-80CRI-40K-MIN1-EZT-MVOLT-E10WCP Mtg: RECESSED, Watts: 47W | 1 | 0% | 1 | EA
24 | C4XR: 2'X4' Recessed Led Edge Lit Flat Panel With Satin White Lens(FULLY LUMINIOUS APPERANCE) And Extruded Aluminium Seamless Frame, Except Provide With Integral 10W Emergency Battery Pack Rated For 90 Minute Minimum Operation,Excep Provide With UL924 Listed Emergency Trasfer Device( FUNCTION DEVICES INC ESRN LEGRAND ELUC-200 OR SIMILAR) To Swirtch To Emergency Circuit Upon Power Loss To No inal Switch Circuit Serving Fixtures/ Room. Mfr: LITHONIA, Model: EPANL-2X4-4800LM-80CRI-40K-MIN1-EZT-MVOLT-E10WCP-ESREN, Mtg: RECESSED, Watts: 47W | 2 | 0% | 2 | EA
25 | C5: 2'X4' Recessed Led Edge Lit Flat Panel With Satin White Lens (FULLY LUMINIOUS APPERANCE) And Extruded Aluminium Seamless Frame, Mfr: LITHONIA, Model: EPANL-2X4-5400LM-80CRI-40K-MIN1-EZT-MVOLT,, Mtg: RECESSED, Watts: 52W | 16 | 0% | 16 | EA
26 | C5 EM: 2'X4' Recessed Led Edge Lit Flat Panel With Satin White Lens (FULLY LUMINIOUS APPERANCE) And Extruded Aluminium Seamless Frame, Mfr: LITHONIA, Model: EPANL-2X4-5400LM-80CRI-40K-MIN1-EZT-MVOLT,, Mtg: RECESSED, Watts: 52W | 16 | 0% | 16 | EA
27 | C5X: 2'X4' Recessed Led Edge Lit Flat Panel With Satin White Lens (FULLY LUMINIOUS APPERANCE) And Extruded Aluminium Seamless Frame, Except Provide With Integral 10W Emergency Battery Pack Rated 90 Minute Minimum Operation, Mfr: LITHONIA, Model: EPANL-2X4-5400LM-80CRI-40K-MIN1-EZT-MVOLT-E10WCP, Mtg: RECESSED, Watts: 52W | 3 | 0% | 3 | EA
28 | C5X EM: 2'X4' Recessed Led Edge Lit Flat Panel With Satin White Lens (FULLY LUMINIOUS APPERANCE) And Extruded Aluminium Seamless Frame, Except Provide With Integral 10W Emergency Battery Pack Rated 90 Minute Minimum Operation, Mfr: LITHONIA, Model: EPANL-2X4-5400LM-80CRI-40K-MIN1-EZT-MVOLT-E10WCP, Mtg: RECESSED, Watts: 52W | 2 | 0% | 2 | EA
29 | C6: 2'X4' Recessed Led Edge Lit Flat Panel With Satin White Lens( FULLY LUMINIOUS APPERANCE ) And Extruded Aluminium Seamless Frame, Mfr: LITHONIA, Model: EPANL-2X4-6000LM-80CRI-40K-MIN1-EZT-MVOLT, Mtg: RECESSED, Watts: 54W | 7 | 0% | 7 | EA
30 | C6XR EM: 2'X4' Recessed Led Edge Lit Flat Panel With Satin White Lens( FULLY LUMINIOUS APPERANCE ) And Extruded Aluminium Seamless Frame, Except Provide With Integral Emergency Battery Pack Rated For 1400L For 90 Minute Minium Operation, Provide With UL924 Listed Emergency Trasfer Device( FUNCTION DEVICES INC ESRN LEGRAND ELUC-200 OR SIMILAR) To Swirtch To Emergency Circuit Upon Power Loss To No inal Switch Circuit Serving Fixtures/ Room. Mfr: LITHONIA, Model: EPANL-2X4-6000LM-80CRI-40K-MIN1-ZT-MVOLT-E10WCP-ESRN, Mtg: RECESSED, Watts: 54W | 1 | 0% | 1 | EA
31 | C7: 2'X4' Recessed Led Edge Lit Flat Panel With satin White Lens ( FULLY LUMINIOUS APPERANCE)And Extruded Aluminium Seamless Frame, Mfr: LITHONIA, Model: EPANL-2X4-6800LM-80CRI-40K-MIN1-EZT-MVOLT Mtg: RECESSED, Watts: 60W | 24 | 0% | 24 | EA
32 | C7 EM: 2'X4' Recessed Led Edge Lit Flat Panel With satin White Lens ( FULLY LUMINIOUS APPERANCE)And Extruded Aluminium Seamless Frame, Mfr: LITHONIA, Model: EPANL-2X4-6800LM-80CRI-40K-MIN1-EZT-MVOLT Mtg: RECESSED, Watts: 60W | 30 | 0% | 30 | EA
33 | C7X EM: 2'X4' Recessed Led Edge Lit Flat Panel With satin White Lens ( FULLY LUMINIOUS APPERANCE)And Extruded Aluminium Seamless Frame,Except Provide With Integral 10W Emergency Battery Pack Rated L For 90 Minute Minimum Operation, Mfr: LITHONIA, Model: EPANL-2X4-6800LM-80CRI-40K-MIN1-EZT-MVOLT-E10WCP, Mtg: RECESSED, Watts: 60W | 2 | 0% | 2 | EA
34 | C8: 2'X2' Recessed Led Edge Lit Flat Panel With Satin White Lens ( FULLY LUMINIOUS APPERANCE) And Extruded Aluminium Seamless Frame, Mfr: LITHONIA, Model: EPANL-2X2-4800LM-CRI-40K-MIN1-EZT-MVOLT Mtg: RECESSED, Watts: 36W | 4 | 0% | 4 | EA
35 | C8X: Same As Type C9,Except Provide With Integral 10W Emergency Battery Pack Rated L For 90 Minute Minimum Operation, Mfr: LITHONIA, Model: EPANL-2X2-4800LM-80CRI-40K-MIN1-EZT-MVOLT-E10WCP, Mtg: RECESSED, Watts: 36W | 2 | 0% | 2 | EA
36 | C4X EM: 2'X4' Recessed Led Edge Lit Flat Panel With Satin White Lens(FULLY LUMINIOUS APPERANCE) And Extruded Aluminium Seamless Frame, Except Provide With Integral 10W Emergency Battery Pack Rated For 90 Minute Minimum Operation, Mfr: LITHONIA, Model: EPANL-2X4-4800LM-80CRI-40K-MIN1-EZT-MVOLT-E10WCP Mtg: RECESSED, Watts: 47W | 3 | 0% | 3 | EA
37 | D1: 6'' Phase Nominal Aperture Dimmable Led Downlight With AIR-Tight Housing Semi-Specular Reflector Clear Trim And Led Light Module Rated L70 @ 50,000 HRS Minimum, Mfr: LITHONIA, Model: LDN640/05 L06AR LSS MVOLT EZ1 Mtg: RECESSED, Watts: 7.6W | 80 | 0% | 80 | EA
38 | D1 EM: 6'' Phase Nominal Aperture Dimmable Led Downlight With AIR-Tight Housing Semi-Specular Reflector Clear Trim And Led Light Module Rated L70 @ 50,000 HRS Minimum, Mfr: LITHONIA, Model: LDN640/05 L06AR LSS MVOLT EZ1 Mtg: RECESSED, Watts: 7.6W | 6 | 0% | 6 | EA
39 | D1X: 6'' Phase Nominal Aperture Dimmable Led Downlight With AIR-Tight Housing Semi-Specular Reflector Clear Trim And Led Light Module Rated L70 @ 50,000 HRS Minimum, Except Provide With Integral 10W Emergency Battery Pack Rated For 90 Minute Minimum Operation Mfr: LITHONIA, Model: LDN640/05 L06AR LSS MVOLT EZ1-E10WCP Mtg: RECESSED, Watts: 7.6W | 2 | 0% | 2 | EA
40 | D2: 6'' Phase Nominal Aperture Dimmable Led Downlight With AIR-Tight Housing Semi-Specular Reflector Clear Trim And Led Light Module Rated L70 @ 50,000 HRS Minimum Operations, Mfr: LITHONIA, Model: LDN640/10 L06AR LSS MVOLT EZ1 Mtg: RECESSED, Watts: 10.4W | 71 | 0% | 71 | EA
41 | D2X: 6'' Phase Nominal Aperture Dimmable Led Downlight With AIR-Tight Housing Semi-Specular Reflector Clear Trim And Led Light Module Rated L70 @ 50,000 HRS Minimum,Except Provide With Integral 10W Emergency Battery Pack Rated For 90 Minute Minimum Operation Mfr: LITHONIA, Model: LDN640/10 L06AR LSS MVOLT EZ1 E10WCP Mtg: RECESSED, Watts: 10.4W | 2 | 0% | 2 | EA
42 | D3: 6'' Phase Nominal Aperture Dimmable Led Downlight With AIR-Tight Housing Semi-Specular Reflector Clear Trim And Led Light Module Rated L70 @ 50,000 HRS Minimum Operations, Mfr: LITHONIA, Model: LDN640/15 L06AR LSS MVOLT EZ1 Mtg: RECESSED, Watts: 17.5W | 39 | 0% | 39 | EA
43 | D3R EM: 6'' Phase Nominal Aperture Dimmable Led Downlight With AIR-Tight Housing Semi-Specular Reflector Clear Trim And Led Light Module Rated L70 @ 50,000 HRS Minimum,Except Provide With Integral 10W Emergency Battery Pack Rated For 90 Minute Minimum Operation,Provide With UL924 Listed Emergency Trasfer Device( FUNCTION DEVICES INC ESRN LEGRAND ELUC-200 OR SIMILAR) To Swirtch To Emergency Circuit Upon Power Loss To Nominal Switch Circuit Serving Fixtures/ Room Mfr: LITHONIA, Model: LDN640/15 L06AR LSS MVOLT EZ1 ESRN Mtg: RECESSED, Watts: 17.5W | 6 | 0% | 6 | EA
44 | D3X EM: 6'' Phase Nominal Aperture Dimmable Led Downlight With AIR-Tight Housing Semi-Specular Reflector Clear Trim And Led Light Module Rated L70 @ 50,000 HRS Minimum,Except Provide With Integral 10W Emergency Battery Pack Rated For 90 Minute Minimum Operation Mfr: LITHONIA, Model: LDN640/15 L06AR LSS MVOLT EZ1 ESRN Mtg: RECESSED, Watts: 17.5W | 13 | 0% | 13 | EA
45 | E1: 6'' Phase Nominal Aperture Dimmable Smooth Lensed Led Downlight With Led Light Module Rated L70 @ 60,000HRS Minimum, Mfr: GOTHAM, Model: EV06CR 10/1000 6DFF SMO MVOLT EZ1, Mtg: RECESSED, Watts: 12.1W | 56 | 0% | 56 | EA
46 | E2: 6'' Phase Nominal Aperture Dimmable Smooth Lensed Led Downlight With Led Light Module Rated L70 @ 60,000HRS Minimum, Mfr: GOTHAM, Model: EV06CR 20/1500 6DFF SMO MVOLT EZ1, Mtg: RECESSED, Watts: 25.9W | 2 | 0% | 2 | EA
47 | F1: 6'' Phase Mri/Imaging Suite Regressed Downlight With Die-Cast Aluminium Construction ( NON-FEROUS), Clear Semi-Specular Reflector 1% Dimming VIA 0-10V Controls And 24VDC Operated Provide Dc Power Supply /Controller And Dimming Filters(1PER CKT), Mfr: KENALL, Model: MIRIDL6-R-DCFW-23L-40K9-W-CSS-T-RIMR16-24V-DIM1, MIRIPSF-480(POWER SUPPLY) / MIRIFD-1A ( FILTERS), Mtg: RECESSED, Watts: 27W | 8 | 0% | 8 | EA
48 | G1 EM: 2'X4' Clean Room Grade Led troffer (FLANGE MOUNT) With Inset White Aluminium Door, Steel Housing Gaskets Spring Loaded Latches And 1/8'' Thick Prismatic Acrylic Lens, Mfr: LITHONIA, COLUMBIA, Model: 2SRTL-F-L48-15000LM-IAW-AFL-MVOLT-EZ1-35K-80CRI Mtg: RECESSED DRYWALL, Watts: 121W | 1 | 0% | 1 | EA
49 | G1X EM: 2'X4' Clean Room Grade Led troffer (FLANGE MOUNT) With Inset White Aluminium Door, Steel Housing Gaskets Spring Loaded Latches And 1/8'' Thick Prismatic Acrylic Lens, Provide With Emergency Battery Pack, Mfr: LITHONIA, COLUMBIA, Model: 2SRTL-F-L48-15000LM-IAW-AFL-MVOLT-EZ1-35K-80CRI-E10WLCP, Mtg: RECESSED DRYWALL, Watts: 121W | 2 | 0% | 2 | EA
50 | H1: 4' L Led Lensed Strip Light fixture With steel Housing And wide Distribution Reflector/Acrylic Lens Suspended Mount With Chain AT B10'-0 A.F.F To Bottom, Mfr: LITHONIA, Model: ZL1D-L48-ASR-5000LM FST-MVOLT-40K-80CRI-WH, Mtg: RECESSED, Watts: 41W | 3 | 0% | 3 | EA
51 | H1X: 4' L Led Lensed Strip Light fixture With steel Housing And wide Distribution Reflector/Acrylic Lens Suspended Mount With Chain AT B10'-0 A.F.F To Bottom,Prove With Integral Emergency Battery Pack Mfr: LITHONIA, Model: ZL1D-L48-ASR-5000LM FST-MVOLT-40K-80CRI-E17W-WH, Mtg: RECESSED, Watts: 41W | 8 | 0% | 8 | EA
52 | lA1: Phase x 24" Led Pendant Fixture With .125""Gloss White Virgin Acrylic Diffuser With Spun 0.63"" Aluminum Trumpet In Brushed Aluminum Finish And Silver Braid Power Cord, White Canopy And Stainless Steel Cable With Field Adjustable Gripper. Mfr: IDROP, Model: P5318-40HI-40DL-BA-SBPC, Mtg: PENDANT, Watts: 19W,20W | 2 | 0% | 2 | EA
53 | IA2: 24" Phase x 30"H Led Pendant Fixture With .125"" Gloss White Virgin Acrylic Diffuser With Spun 0.63"" Aluminum Trumpet In Brushed Aluminum Finish And Silver Braid Power Cord,White Canopy And Stainless Steel Cable With Field Adjustable Gripper. Mfr: IDROP, Model: P5324-40HI-40DL-BA-SBPC, Mtg: PENDANT, Watts: 27W,20W | 3 | 0% | 3 | EA
54 | IA3: 30"Phase x 36" H Led Pendant Fixture With .125 Gloss Acrylic Diffuser With Spun 0.63"" Aluminum Trumpet In Brushed Aluminum Finish And Silver Braid Power Cord,White Canopy And Stainless Steel Cable With Field Adjustable Gripper. Mfr: IDROP, Model: P5330-40HI-40DL-BA-SBPC, Mtg: PENDANT, Watts: 32W,20W | 2 | 0% | 2 | EA
55 | IB1: 24" Phase Nominal x 3" Led Surface Mount Fixture With Edge Lit Fixture With Extruded Aluminum Housing Powder Coated Finish And Regressed Acrylic Lens. Mfr: FOCAL POINT, Model: FSDEP-2FL-5000DN-SG-940K-1C-UNV-L11-SM-WH, Mtg: SURFACE, Watts: 44W | 1 | 0% | 1 | EA
56 | IB1X: Same As Type Ib1" Except Provide With Emergency Battery Unit For 90 Minute Minimum Operation Upon Normal Power Loss. Mfr: FOCAL POINT, Model: FSDEP-2FL-5000DN-SG-940K-1C-UNV-L11-SM-WH, Mtg: SURFACE, Watts: 44W | 2 | 0% | 2 | EA
57 | IB2: 36" Phase Nominal x 3"Led Surface Mount Fixture With Edge Lit Fixture With Extruded Aluminum Housing One-Piece Top Cover And 18 Ga. Steel Reflector With High Reflectance White Powder Coated Finish And Regressed Acrylic Lens. Mfr: FOCAL POINT, Model: FSDEP-3FL-7000DN-SG-940K-1C-UNV-L11-SM-WH, Mtg: SURFACE, Watts: 63W | 2 | 0% | 2 | EA
58 | IC1: 48" Phase Nominal (OUTSIDE) x 5"W x 1.625"H Ring Led Surface Mount Fixture With Extruded Aluminum Frame With White Anti-Microbial Powder Coat Finish And Sandblasted Clear Lexan Lens. Mfr: ALW, Model: RPD06-R2S-D4-4000-0/10V/S-WH/AM-UNV Mtg: SURFACE, Watts: 104W | 4 | 0% | 4 | EA
59 | IC1X: Same As TypeIC1" Except Provide With Emergency Battery 90 Minute Minimum Operation Upon Normal Loss. Mfr: ALW, Model: P5318-40HI-40DL-BA-SBPC, Mtg: SURFACE, Watts: 104W | 2 | 0% | 2 | EA
60 | ID1: 6.5" Phase x 16.4" H Hand-Blown Opaque White Glass Mini-Pendent Led Fixture Suspended With 10' Field-Cuttable Cable.Suspend Mount At Elevation Per Architect's Direction. Mfr: TECH LIGHTING Model: 700TDMAT1FFWS-LED927-120V, Mtg: PENDANT, Watts: 9.5W | 12 | 0% | 12 | EA
61 | IE1: 3.5""Wx5"Dx4'L Linear Ceiling Recessed Led Fixture With Extruded Aluminum Housing,Die Cast Aluminum End-Caps And Uniform Froasted Acrylic Lens. Mfr: AXIS, Model: ZERLED-SQ-600-90-40-4-W-UNV-DP-1-*, Mtg: RECESSED, Watts: 24W | 16 | 0% | 16 | EA
62 | IE1X: Same As Type IE1" Except Provide With Emergency Battery Unit For 90 Minute Minimum Operation Upon Normal Power Loss. Mfr: AXIS, Model: ZERLED-SQ-600-90-40-40W-UNV-DP-1-*-B1, Mtg: RECESSED, Watts: 24W | 14 | 0% | 14 | EA
63 | IE2: 3.5"Wx5"Dx6'L Linear Wall Recessed Led Fixture With Extruded Aluminum Housing, Die Cast Aluminum End-Caps And Uniform Frosted Acrylic Lens. Mfr: AXIS, Model: ZERLED-SQ-800-90-40-6-W-UNV-DP-1-*, Mtg: RECESSED, Watts: 47W | 15 | 0% | 15 | EA
64 | IE2X: Same As Type "IE1" Except Provide With Emergency Battery Battery unit For 90 Minute Minimum Operation Upon Normal Power Loss. Mfr: AXIS, Model: ZERLED-SQ-800-90-40-6-W-UNV-DP-1-*, Mtg: RECESSED, Watts: 47W | 7 | 0% | 7 | EA
65 | IE3: 3.5"Wx5"Dx6'L Linear Wall Recessed Led Fixture With Aluminum Housing,Die Cast Aluminum End-Caps And Uniform Froasted Acrylic Lens. Mfr: AXIS, Model: ZERLED-SQ-600-90-40-6-W-UNV-DP-1-*, Mtg: RECESSED WALL, Watts: 36W | 24 | 0% | 24 | EA
66 | IF1: 3.5"Wx2'L Architectural Recessed Led Troffer With One-Piece Extruded Aluminium Housing, High Reflectance White Power Coated Steel Reflectors And .06"" Thick Extruded Acrylic Diffuser With 1.5"" Drop And Froasted Finish Mfr: FOCAL POINT, Model: FSM2L-PD15-625LF-40K-1C-UNV-L11-G1-WH-2', Mtg: RECESSED, Watts: 17.6W | 3 | 0% | 3 | EA
67 | IF2: 3.5"Wx6'L Architectural Recessed Led Troffer With One-Piece Extruded Alumionum Housing,High Reflactance White Power Coated Steel Reflectors And .06"" Thick Extruded Acrylic Diffuser With 1.5"" Drop And Froasted Finish. Mfr: FOCAL POINT, Model: FSM2L-PD15-625LF-40K-1C-UNV-L11-G1-WH-4', Mtg: RECESSED Watts: 35.2W | 8 | 0% | 8 | EA
68 | IF2X (No Schedule Given) | 3 | 0% | 3 | EA
69 | IF2XR (No Schedule Given) | 1 | 0% | 1 | EA
70 | IG1: 2'X2' Architectural Recessed Led Troffer With One-Piece Steel Housing(BOTTOM DRIVER ACCESS) And 1.25'' Thick Formed Acrylic Diffuser With 2'' Drop (SATIN WHITE FINISH), Mfr: FOCAL POINT, Model: FV22-AC2-2500L-40K-1C-UNV-LH1-G1-WH, Mtg: Recessed, Watts: 30W | 12 | 0% | 12 | EA
71 | IG1X: 2'X2' Architectural Recessed Led Troffer With One-Piece Steel Housing(BOTTOM DRIVER ACCESS) And 1.25'' Thick Formed Acrylic Diffuser With 2'' Drop (SATIN WHITE FINISH),Except Provide With Emergency Battery Unit For 90 Minute Minimum Operation Upon Normal Power Less, Mfr: FOCAL POINT, Model: FV22-AC2-2500L-40K-1C-UNV-LH1-G1-EM-WH, Mtg: Recessed, Watts: 30W | 6 | 0% | 6 | EA
72 | IG2: 2'X2' Architectural Recessed Led Troffer With One-Piece Steel Housing (BOTTOM DRIVER ACCESS) And 1.25'' Thick Formed Acrylic Diffuser With 2'' drop( SATIN WHITE FINISH) , Mfr: FOCAL POINT, Model: FV22-AC2-3000L-40K-1C-UNV-LH1-G1-WH, Mtg: RECESSED, Watts: 37W | 26 | 0% | 26 | EA
73 | IG2X: 2'X2' Architectural Recessed Led Troffer With One-Piece Steel Housing (BOTTOM DRIVER ACCESS) And 1.25'' Thick Formed Acrylic Diffuser With 2'' drop( SATIN WHITE FINISH), Except Provide With Emergency Battery Unit For 90 Minute Minimum Operation Upon Normal Power Loss, Mfr: FOCAL POINT, Model: FV22-AC2-3000L-40K-1C-UNV-LH1-G1-EM-WH, Mtg: RECESSED, Watts: 37W | 3 | 0% | 3 | EA
74 | IH1: 2.5D''X2.5H'' X8'L Led Indirect Wall Mount Fixture With Extruded Aluminium Housing Cast Aluminium End-Caps White Power Coated Steel Reflector And Extruded Acrylic Lens, Mfr: AXIS, Model: ED2WD-400LM/FT-90-40-UB-8'-W-W-UNV-DP-1-FL, Mtg: RECESSED, Watts: 24.3W | 1 | 0% | 1 | EA
75 | IH2: 2.5D''X2.5H'' X12'L Led Indirect Wall Mount Fixture With Extruded Aluminium Housing Cast Aluminium End-Caps White Power Coated Steel Reflector And Extruded Acrylic Lens, Mfr: AXIS, Model: ED2WD-400LM/FT-90-40-UB-12'-W-W-UNV-DP-1-FL, Mtg: RECESSED, Watts: 36.4W | 2 | 0% | 2 | EA
76 | IH3: 2.5D''X2.5H'' X14'L Led Indirect Wall Mount Fixture With Extruded Aluminium Housing Cast Aluminium End-Caps White Power Coated Steel Reflector And Extruded Acrylic Lens, Mfr: AXIS, Model: ED2WD-400LM/FT-90-40-UB-14'-W-W-UNV-DP-1-FL, Mtg: RECESSED, Watts: 42.4W | 2 | 0% | 2 | EA
77 | IH4: 2.5D''X2.5H'' X16'L Led Indirect Wall Mount Fixture With Extruded Aluminium Housing Cast Aluminium End-Caps White Power Coated Steel Reflector And Extruded Acrylic Lens, Mfr: AXIS, Model: ED2WD-400LM/FT-90-40-UB-6'-W-W-UNV-DP-1-FL, Mtg: RECESSED, Watts: 48.5W | 2 | 0% | 2 | EA
78 | IJ1: 36'' Square (2.8''Wx3.7''H) Surface Mounted Led Fixture With Painted White Matte Finish And Satin Opal Diffuser, Mfr: INTER-LUX/ALM LTG, Model: 1545S36-M840U-D010-SW21, Mtg: SURFACE, Watts: 64W | 6 | 0% | 6 | EA
79 | IK1: 58'' L (NOMINAL) Exterior Led Up-Light Fixture Extruded Aluminium Housing, Mfr: SPI LIGHTING, Model: EEW11901-L29W-102-277V-4000K-HZT-OAP(26.5''), Mtg: SURFACE, Watts: 29W | 2 | 0% | 2 | EA
80 | IK2: 106.3'' L (NOMINAL) Exterior Led Up-Light Fixture Extruded Aluminium Housing, Mfr: SPI LIGHTING, Model: EEW11902-L57W-102-277V-4000K-HZT-OAP(20.5''), Mtg: SURFACE, Watts: 57W | 2 | 0% | 2 | EA
81 | IL1: 3.1''Wx 4.4'' Hx96'' L Surface Ceiling Mount Exterior Led Linear Fixture With Extruded Housing Diffused Acrylic Lens With Semi-Direct (89% Direct /11% Indirect) Remote Power Supply (Max Remote Dist 15') And Integral Surfage Protection, Mfr: SPI LIGHTING, Model: SEC12113-L53W-120/277-4000K-SJB-OAL(8.00'-B-ECO1-ANO4, Mtg: SURFACE, Watts: 57W | 4 | 0% | 4 | EA
82 | IM1 EM: Linear Led Cove Lighting Provide Approprite Number And Length Fixture With Jumpers As Required For Continous Cove Lighting, Mfr: BRICHWOOD LIGHTING, Model: SYD-LED-CLO-160-EE-40K-CR(RADIUS 4'-6'')-HRH-277-D10-MCO3, Mtg: SURFACE, Watts: 6.4/FT | 1 | 0% | 1 | EA
83 | IN1: 8' Lx4'' Wx4.5'' H Nominal Direct / Indirect Wall Mount Led FixtureWith Flush Frosted Acrylic Up/Down Lens. Housing ConstructedOf Extruded Aluminium With White Finish, Mfr: FOCAL POINT, Model: FSM48W-FLFL-375DN/500UP-40K-1C-UNV-LD1-WM-WH-8', Mtg: SURFACE, Watts: 58W | 6 | 0% | 6 | EA
84 | J1: 4' Phase Nominal Aperture Dimmable Led Downlight With AIR-Tight Housing Semi-Specular Reflector Clear Trim And Solid State Dynamic Red Emitting Led Light Module, Mfr: GOTHAM, Model: EVO-ARTC-R/12-4AR-MWD-LSS-277, Mtg: RECESSED, Watts: 9W | 4 | 0% | 4 | EA
85 | R1: Relocated Round High Bay Metal halide Fixture, EXISTING, Mtg: PENDANT | 18 | 0% | 18 | EA
86 | SIX: 10.5"Wx6"Hx6.5"D (Nominal) Led Exterior Wall Mtd FixtureWith Die-Cast Aluminium Housing (PLATINUM SILVER), Zero-Uplight, 10ka Surge Protector, Diffused Frosted Acrylic Lens (DUAL DRIVER & DUALLED MODULES) With Battery Backup And Photocell. Mfr: HUBBELL, Model: LNC2-18L-4K-070-3-4-PS-PCU-CS-2DR, Mtg: Wall, Watts: 43W | 6 | 0% | 6 | EA
87 | S2: 13"Wx6.5"Hx8"D (NOMINAL) Round/Radiused Led Exterior Wall Mtd Area Fixture With Die-Cast Aluminium Housing (PLANTIUM SILVER), Zero-Uplight, 10kA Surge Protector, Photocell And Type II Distribution. Mfr: HUBBELL, Model: RDI1-12L-30-4K7-2-277-PS-PCU, Mtg: Wall, Watts: 28.3W | 11 | 0% | 11 | EA
88 | S2A: 31"Wx6.6"Hx8''D (NOMINAL) Round/Radiused Led Exterior Wall Mtd Area Fixture With Die-Cast Aluminium Housing (PLATINUM SILVER), Zero-Uplight, 10kA Surge Protector, Photocell And Type III Distribution, Mfr: HUBBELL, Model: RDI1-12L-30-4K7-3-277-PS-PCU, Mtg: Wall, Watts: 28.2W | 1 | 0% | 1 | EA
89 | T1 EM:6" Phase Nominal Aperature Non-Conductive, Regressed Lensed Shower Led Downlight With Led Light Module Rated L70 @ 60,000HRS Minimum. Mfr: GOTHAM, Model: EVO 40/20 6DFR MVOLT GZI, Mtg: RECESSED, Watts: 23.2W | 1 | 0% | 1 | EA
90 | Warning Light Relay MFG: GE #E4502RL | 2 | 0% | 2 | EA
91 | WL1: Single Sided Thermoplastic Signage Light With White Housing/Face, Red Stencil Letters With ""X-Ray On"" Wording. Mfr: LITHONIA,EXTRONIX,SURE-LITES, Model: LQMP W 1 R 120/277 SW16, VEX-1-BP-LB-WH-SS (X-RAY IN USE), CX61WH-8 (X-RAY ON) Mtg: Univeral, Watts: 0.62W | 6 | 0% | 6 | EA
92 | WL2: Single Sided Thermoplastic Signage Light With White Housing/Face,Red Stencil Letters With ""Beam On"" Wording. Mfr: LITHONIA,EXITRONIX,SURE-LIGHTS, Model: LQMP W 1 E 120/277 SWO5,VEX-1-BP-WH-SS (BEAM ON),CX61WH-(BEAM ON), Mtg: UNIVERSAL, Watts: 0.62W | 1 | 0% | 1 | EA
93 | WL3: Single Sided Thermoplastic Signage Light With Housing/Face,Red Stencil Letters With ""Magnet In Use"" Wording. Mfr: LITHONIA,EXTRONIX,SURE-LITES, Model: LQMP W 1 R 120/277 SW11,VEX-1-BP-LB-WH-SS(MAGNET IN USE),CX61WH-(MAGNET IN USE), Mtg: UNIVERSAL, Watts: 0.62W | 1 | 0% | 1 | EA
94 | X1: Single Sided Egress Led Exit With White Die-Cast Aluminum Housing Red Letters Emergency Battery Unit And Self Diagnostics. Provide With Chevron Indicator(S) As Indicated/Required. Mfr: LITHONIA,DUAL-LITE Model: LESW1R 120/277 ELN SD,SESRWEI, Mtg: UNIVERSAL, Watts: 3.8W | 39 | 0% | 39 | EA
95 | X1R: Single Sided Egress Led Exit With White Die-Cast Aluminum Housing,Red Letters Emergency Battery Unit And Self Diagnostics,Provide With Chevron Indicator(S). As Indicated/Required.Provide With White Remote Capacity Canopy Rated 6vdc, 11.1w Output. Mfr: LITHONIA, Model: LESW1R 120/277 ELN SD ELA W LEHO 120/277N, Mtg: Wall, Watts: 15W | 2 | 0% | 2 | EA
96 | X2: Double Sided Egress Led Exit With White Die-Cast Aluminum Housing,Red Letters Emergency Battery Unit And Self Diagnostics Provide With Chevron Indicator(S) As Indicated/Required. Mfr: LITHONIA,DUAL LITE Model: LESW2R 120/277 ELN SD,SEDRWEI Mtg: UNIVERSAL, Watts: 3.8W " | 2 | 0% | 2 | EA
97 | X3: Twin Head Low Profile Led Emergency Wall Unit With White Housing And Lead-Calcium Battery For 90 Minimum Operation.Provide With Test Switch And Status Indicator. Mfr: LITHONIA, Model: EU2L M12 , Mtg: WALL, Watt: 3W | 3 | 0% | 3 | EA
98 | X4: Outdoor Twin Led Remote Lamp Head With Die-Cast Aluminum Construction And White Finish, Fixture Rated 4.8Vdc At 1w Per Lamp Head. Fixture To Be Powered From Adjacent Indoor Type ""X1R"" Fixture. Mfr: LITHONIA, Model: ELMRMLP220L, Mtg: Wall, Watts: 2.4W | 2 | 0% | 2 | EA
LIGHTING CONTROLS
1 | INTERTER SYSTEM FOR CRITICAL LIGHTING LOADS WITH 90 MIN BACK UP. INTERTER SHALL BE ACUITY BRANDS EAC-FTT-1000-277/277-OB2-WMB-FSP-EXITRONIX PHXCOM-750-277-277-WB 0R APPROVED SIMILAR | 1 | 0% | 1 | EA
2 | LC SMALL ROOM LOW VOLTAGE PASSIVE INFRARED AND MICROPHONICS/ ULTRASONICS CEILING MOUNTED SENSOR FOR LIGHTING CONTROL.ACUITY SENSOR CM-PDT-9 OR APPROVED | 65 | 0% | 65 | EA
3 | LC POWER PACK/ RELAY LOAD CONTROLLER FOR LOW VOLTAGE SENSOR. ACUITY SENSOR PP20/PP20-2 OR APPROVED | 36 | 0% | 36 | EA
4 | LC S SINGLE POLE 20A SWITCH | 14 | 0% | 14 | EA
5 | LC S(MS) PASSIVE INFRARED LINE VOLTAGE OCCUPANCY SENSOR . ACUITY SENSOR SWITCH WSD-PDT-WH OR APPROVED | 13 | 0% | 13 | EA
6 | LC S3 SINGLE POLE 20A SWITCH THREEWAY SWITCH | 69 | 0% | 69 | EA
7 | LC S4 SINGLE POLE 20A SWITCH FOURWAY SWITCH | 10 | 0% | 10 | EA
8 | LC WALL OUTLET AND DIMMER SWITCH WITH ON/OFF AND LOWER/RAISE . ACUITY SENSOR SWITCHED SPODMRD-EZ-WH OR APPROVED SIMILAR | 152 | 0% | 152 | EA
9 | LIGHTING CONTROL PANEL | 1 | 0% | 1 | EA
10 | MRI ROOM LIGHTING POWER SUPPLY UNIT (277/24v DC) | 1 | 0% | 1 | EA
SECURITY
CONDUITS
1 | 3/4" Empty Conduit W Pull string | 55.36 | 10% | 60.896 | FT
LIGHTING FIXTURES
1 | Security Control Panel To Be Furnished and Installed by Owner's Security Contractor | 1 | 0% | 1 | EA
2 | CCTV Camera (Furnished By Owner) | 2 | 0% | 2 | EA
DISCONNECT SWITCHES
1 | 30A 3P Disconnect Switch | 2 | 0% | 2 | EA
2 | 400A 3P Disconnect Switch | 1 | 0% | 1 | EA
3 | 600A 3P Disconnect Switch | 1 | 0% | 1 | EA
4 | 60A 3P Disconnect Switch | 1 | 0% | 1 | EA
5 | 800A 3P Disconnect Switch | 1 | 0% | 1 | EA
6 | FDS 400A 3P Fused Disconnect Switch | 1 | 0% | 1 | EA
7 | Non Fusible Disconnect Switch 30A 3P | 7 | 0% | 7 | EA
8 | 60A, 3P, 600V Non Fused Disconnect Switch | 1 | 0% | 1 | EA
9 | Non Fused Disconnet Switch 30A, 600V | 3 | 0% | 3 | EA
10 | Non Fusible Disconnect Switch 100A 3P, NEMA 3R | 1 | 0% | 1 | EA
11 | Non Fusible Disconnect Switch 30A 2P, NEMA 3R | 2 | 0% | 2 | EA
12 | Non Fusible Disconnect Switch 30A 2P, NEMA 3R | 5 | 0% | 5 | EA
13 | Non Fusible Disconnect Switch 30A 3P, NEMA 3R | 13 | 0% | 13 | EA
14 | Non Fusible Disconnect Switch 60A 3P | 4 | 0% | 4 | EA
15 | Non Fusible Disconnect Switch 60A 3P, NEMA 3R | 2 | 0% | 2 | EA
16 | Toggle Type 2 Pole Disconnect Switch | 4 | 0% | 4 | EA
MISCELLANEOUS
1 | 12" D Pull Box | 1 | 0% | 1 | EA
2 | 12"x7"x12" D Pull Box | 3 | 0% | 3 | EA
3 | 6"x6"x4"D Pull Box | 1 | 0% | 1 | EA
4 | Base Frame Pull Box | 1 | 0% | 1 | EA
5 | Blower box | 1 | 0% | 1 | EA
6 | Cord and Plug | 3 | 0% | 3 | EA
7 | Cord and Plug (For Nitrogen manifold Controller) | 1 | 0% | 1 | EA
8 | Cord and Plug For Hydrotherapy Equipment | 2 | 0% | 2 | EA
9 | Junction Box | 145 | 0% | 145 | EA
10 | Junction Box For Exam/Surgery Light | 30 | 0% | 30 | EA
11 | Radiation system Detector Junction Box | 1 | 0% | 1 | EA
12 | Relay Junction Box | 1 | 0% | 1 | EA
13 | Outlet Box | 5 | 0% | 5 | EA
14 | Sheild Cooler | 1 | 0% | 1 | EA
15 | Unistrut | 1 | 0% | 1 | EA
16 | 3/8" Nuts and Washers | 2 | 0% | 2 | EA
17 | Wall Mounted Junction Box | 15 | 0% | 15 | EA
18 | Wall Mounted Junction box for Signage | 1 | 0% | 1 | EA
DEMOLITION
DISTRIBUTION DEMOLITION
1 | 112.5kVA XFMR | 1 | 0% | 1 | EA
2 | 80kVA 480V-208/120V XFMR | 1 | 0% | 1 | EA
PANEL DEMOLITION
1 | 600A 480/277V 3P 4W Main Distribution Panel with Related Electrical Grounding and Breakers | 1 | 0% | 1 | EA
2 | 800A 480/277V 3P 4W Main Distribution Panel with Breakers | 1 | 0% | 1 | EA
3 | DP Panel to be Demolished | 1 | 0% | 1 | EA
4 | H1 Panel to be Demolished | 1 | 0% | 1 | EA
5 | H2 Panel to be Demolished | 1 | 0% | 1 | EA
6 | HV-A Panel to be Demolished | 1 | 0% | 1 | EA
7 | L1 Panel to be Demolished | 1 | 0% | 1 | EA
8 | L2 with Load Center to be Demolished | 1 | 0% | 1 | EA
9 | LP-C Panel to be Demolished | 1 | 0% | 1 | EA
WIRE DEMOLITION
1 | Feeder Demolition | 891.37 | 0% | 891.37 | FT
MISC. DEVICES DEMOLITION
1 | Temperature Control Panels To Be Relocated | 2 | 0% | 2 | EA
2 | Salvage Lightg Fixtures For Reuse | 10550.87 | 0% | 10550.87 | SQFT
3 | Sump Pump Controller and Alarm Unit To Be Relocated | 1 | 0% | 1 | EA
4 | Main Switch Board To Be Removed. Coordinate W/ PSE&G and Building Owner/Property Manager | 1 | 0% | 1 | EA
TOTAL MATERIAL COST | [12 empty] | 0
TOTAL LABOR COST | [12 empty] | 0
TOTAL COST | [12 empty] | 0
OVERHEADS & PROFIT | [11 empty] | 25% | 0
TOTAL BID | [12 empty] | 0
SCOPE OF ESTIMATE:
I | SUPPLY & INSTALLATION
1 | Conductors & Conduits
2 | Panels & Circuit Breakers
3 | Receptacles & Switches
4 | Lighting & Controls
5 | Fire Alarm
6 | Disconnect Switches
7 | Demolition
II | NOTES
1 | Only Demolished Units and Lengths were included from Partial Removal One-Line Diagram (E5.3)
2 | Some Existing Panel' Location was assumed to taker off their Feeder Demolition.

## TELE ESTIMATE
MANHOUR UNIT RATE
SR. NO. | DESCRIPTION | QUANTITY | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT MAT COST | UNIT | MATERIAL COST | MANHOURS UNIT RATE | UNIT LABOUR | UNIT | TOTAL LABOR COST | MANHOURS | TOTAL TRADE COST
TELECOMMUNICATION
CONDUITS
1 | 3/4" EMT Conduit | 623.29 | 10% | 685.619 | FT | 1.47
2 | 3/4" Empty EMT Conduit W/ Pull String | 256 | 10% | 281.6 | FT | 1.49
3 | 1" EMT Conduit W/ Bushing and Pull String | 2962.66 | 10% | 3258.926 | FT | 2.8
CONDUCTORS
1 | CAT 5 | 623.29 | 10% | 685.619 | FT | 2.88
DEVICES
1 | IT Racks (Provied by Owner Telecommunication Provider) | 3 | 0% | 3 | EA | 198
2 | TV Outlet | 8 | 0% | 8 | EA | 66
3 | Wall Outlet Box For Data and Voice Jack | 263 | 0% | 263 | EA | 55
4 | Wall Outlet Box For Data Jack | 4 | 0% | 4 | EA | 52
5 | Wall Outlet Box For Telephone Jack | 1 | 0% | 1 | EA | 54
6 | UPS Units For Telecommunication and Security System To Be Furnished and Installed by Owner Telecommunication and Security Contractor | 3 | 0% | 3 | EA | 600
TOTAL MATERIAL COST | [12 empty] | 0
TOTAL LABOR COST | [12 empty] | 0
TOTAL COST | [12 empty] | 0
OVERHEADS & PROFIT | [11 empty] | 25% | 0
TOTAL BID | [12 empty] | 0
SCOPE OF ESTIMATE:
I | SUPPLY & INSTALLATION
1 | Conductors & Conduits
2 | Telecommunication