## ELECTRICAL - BREAKDOWN
PROJECT ID : 801 CO OP
ELECTRICAL WORK
SR # | CSI DIV | DWG # | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT OF MEASURMENT | MATERIAL COST | LABOR COST | TOTAL ITEM COST | TOTAL TRADE COST
| DIV.26 |  | ELECTRICAL WORK | [7 empty] | 0
|  | E-101.00 | FIRST FLOOR PLAN
1 |  |  | L-1, STAIRWELL, PARKING RECEPTACLE, @C | 4 | 0% | 4 | EA | 0 | 0 | 0
2 |  |  | TOGGLE SWITCH, MOTORIZED DAMPER, @A | 9 | 0% | 9 | EA | 0 | 0 | 0
5 |  |  | APPLIANCE RECEPTACLE, ELEVATOR LIGHTING, @B | 21 | 0% | 21 | EA | 0 | 0 | 0
6 |  |  | SURVELLANCE CAMERA | 6 | 0% | 6 | EA | 0 | 0 | 0
7 |  |  | GFI APPLIANCE RECEPTACLE, PARKING GFCI, @A | 4 | 0% | 4 | EA | 0 | 0 | 0
8 |  |  | STARTER & DISCONNECT, ACU-1-1, @C | 1 | 0% | 1 | EA | 0 | 0 | 0
9 |  |  | SENSOR SWITCH nWSX PDT LV DX | 2 | 0% | 2 | EA | 0 | 0 | 0
10 |  |  | JUNCTION BOX, TELECOM, @A | 3 | 0% | 3 | EA | 0 | 0 | 0
11 |  |  | QUAD QUTLET, TELECOM SERVICE, @B | 8 | 0% | 8 | EA | 0 | 0 | 0
12 |  |  | A.T.S#4, 600A SWITCH | 1 | 0% | 1 | EA | 0 | 0 | 0
13 |  |  | A.T.S #3, 100A SWITCH | 1 | 0% | 1 | EA | 0 | 0 | 0
14 |  |  | A.T.S #1, 200A SWITCH | 2 | 0% | 2 | EA | 0 | 0 | 0
15 |  |  | HP-1, 200A | 1 | 0% | 1 | EA | 0 | 0 | 0
16 |  |  | HP-2, 200A | 1 | 0% | 1 | EA | 0 | 0 | 0
17 |  |  | HP-G, 200A | 1 | 0% | 1 | EA | 0 | 0 | 0
18 |  |  | GFP, 200A | 4 | 0% | 4 | EA | 0 | 0 | 0
19 |  |  | TVSS, 200A | 1 | 0% | 1 | EA | 0 | 0 | 0
20 |  |  | MANHOLE | 2 | 0% | 2 | EA | 0 | 0 | 0
21 |  |  | WP, 600ASW | 1 | 0% | 1 | EA | 0 | 0 | 0
22 |  |  | A.T.S#2, 100A SWITCH | 2 | 0% | 2 | EA | 0 | 0 | 0
23 |  |  | MOTOR, 60HP | 1 | 0% | 1 | EA | 0 | 0 | 0
24 |  |  | MOTOR, 5HP | 3 | 0% | 3 | EA | 0 | 0 | 0
25 |  |  | MOTOR, 3HP | 2 | 0% | 2 | EA | 0 | 0 | 0
26 |  |  | MOTOR, 7.5HP | 2 | 0% | 2 | EA | 0 | 0 | 0
27 |  |  | MOTOR, 1.5HP | 1 | 0% | 1 | EA | 0 | 0 | 0
28 |  |  | 4#600KCMIL WIRE | 8568 | 0% | 8568 | LF | 0 | 0 | 0
29 |  |  | 4#300KCMIL+1#1/OGND+1#1/0 WIRE | 251 | 0% | 251 | LF | 0 | 0 | 0
30 |  |  | 4#350KCMIL+1#3/OGND WIRE | 1696 | 0% | 1696 | LF | 0 | 0 | 0
31 |  |  | 4#10+1#10GND WIRE | 567 | 0% | 567 | LF | 0 | 0 | 0
32 |  |  | 4#4/0+1#1GND WIRE | 217 | 0% | 217 | LF | 0 | 0 | 0
33 |  |  | 4#4+1#1GND WIRE | 226 | 0% | 226 | LF | 0 | 0 | 0
34 |  |  | 4#50KCMIL+1#3GND WIRE | 152 | 0% | 152 | LF | 0 | 0 | 0
35 |  |  | 4#2+1#8GND WIRE | 331 | 0% | 331 | LF | 0 | 0 | 0
36 |  |  | 4#8+1#10GND WIRE | 271 | 0% | 271 | LF | 0 | 0 | 0
37 |  |  | 4#3+1#6GND WIRE | 161 | 0% | 161 | LF | 0 | 0 | 0
38 |  |  | 4#300KCLIL + 1#1GND WIRE | 256 | 0% | 256 | LF | 0 | 0 | 0
39 |  |  | 800A 3PH WIRE | 102 | 0% | 102 | LF | 0 | 0 | 0
40 |  |  | 4#3/0+1#6GND WIRE | 1998 | 0% | 1998 | LF | 0 | 0 | 0
41 |  |  | 4#2+1#6GND WIRE | 176 | 0% | 176 | LF | 0 | 0 | 0
42 |  |  | 4#1/0+1#6GND WIRE | 363 | 0% | 363 | LF | 0 | 0 | 0
|  | E-102.00 | SECOND FLOOR PLAN
43 |  |  | L-1, STAIRWELL, PARKING RECEPTACLE,@C | 4 | 0% | 4 | EA | 0 | 0 | 0
44 |  |  | GFI APPLIANCE RECEPTACLE, PARKING GFCI, @A | 3 | 0% | 3 | EA | 0 | 0 | 0
45 |  |  | SURVELLANCE CAMERA | 4 | 0% | 4 | EA | 0 | 0 | 0
46 |  |  | APPLIANCE RECEPTACLE, ELEVATOR LIGHTING, @B | 4 | 0% | 4 | EA | 0 | 0 | 0
47 |  |  | TOGGLE SWITCH, MOTORIZED DAMPER, @A | 6 | 0% | 6 | EA | 0 | 0 | 0
48 |  |  | STARTER & DISCONNECT, ACU-1-1, @C | 2 | 0% | 2 | EA | 0 | 0 | 0
49 |  |  | SENSOR SWITCH WSX VA | 1 | 0% | 1 | EA | 0 | 0 | 0
50 |  |  | SENSOR SWITCH WSX PDT | 1 | 0% | 1 | EA | 0 | 0 | 0
51 |  |  | MOTOR, 350KW | 1 | 0% | 1 | EA | 0 | 0 | 0
52 |  |  | GROUNDIG BUS BAR | 6 | 0% | 6 | EA | 0 | 0 | 0
53 |  |  | 4#350KCMIL+1#3/OGND WIRE | 320 | 0% | 320 | LF | 0 | 0 | 0
|  | E-103.00 | THIRD FLOOR PLAN
54 |  |  | L-1, STAIRWELL, PARKING RECEPTACLE,@C | 4 | 0% | 4 | EA | 0 | 0 | 0
55 |  |  | GFI APPLIANCE RECEPTACLE, PARKING GFCI, @A | 3 | 0% | 3 | EA | 0 | 0 | 0
56 |  |  | SURVELLANCE CAMERA | 4 | 0% | 4 | EA | 0 | 0 | 0
57 |  |  | 4#350KCMIL+1#3/OGND WIRE | 160 | 0% | 160 | LF | 0 | 0 | 0
|  | E-104.00 | FOURTH FLOOR PLAN
58 |  |  | L-1, STAIRWELL, PARKING RECEPTACLE,@C | 4 | 0% | 4 | EA | 0 | 0 | 0
59 |  |  | APPLIANCE RECEPTACLE, ELEVATOR LIGHTING, @B | 17 | 0% | 17 | EA | 0 | 0 | 0
60 |  |  | TOGGLE SWITCH, MOTORIZED DAMPER, @A | 5 | 0% | 5 | EA | 0 | 0 | 0
61 |  |  | ELECTRICAL POWER PANEL PP-4 | 1 | 0% | 1 | EA | 0 | 0 | 0
62 |  |  | PLUG UNIT, 200A | 2 | 0% | 2 | EA | 0 | 0 | 0
63 |  |  | 4#3/0+1#6GND WIRE | 230 | 0% | 230 | LF | 0 | 0 | 0
64 |  |  | 4#350KCMIL+1#3/OGND WIRE | 600 | 0% | 600 | LF | 0 | 0 | 0
|  | E-105.00 | FIFTH FLOOR PLAN
65 |  |  | L-1, STAIRWELL, PARKING RECEPTACLE,@C | 4 | 0% | 4 | EA | 0 | 0 | 0
66 |  |  | APPLIANCE RECEPTACLE, ELEVATOR LIGHTING, @B | 14 | 0% | 14 | EA | 0 | 0 | 0
67 |  |  | TOGGLE SWITCH, MOTORIZED DAMPER, @A | 4 | 0% | 4 | EA | 0 | 0 | 0
68 |  |  | ELECTRICAL POWER PANEL PP-5 | 1 | 0% | 1 | EA | 0 | 0 | 0
69 |  |  | PLUG UNIT, 200A | 2 | 0% | 2 | EA | 0 | 0 | 0
70 |  |  | 4#3/0+1#6GND WIRE | 234 | 0% | 234 | LF | 0 | 0 | 0
71 |  |  | 4#350KCMIL+1#3/OGND WIRE | 400 | 0% | 400 | LF | 0 | 0 | 0
|  | E-106.00 | SIXTH FLOOR PLAN
72 |  |  | L-1, STAIRWELL, PARKING RECEPTACLE,@C | 4 | 0% | 4 | EA | 0 | 0 | 0
73 |  |  | APPLIANCE RECEPTACLE, ELEVATOR LIGHTING, @B | 14 | 0% | 14 | EA | 0 | 0 | 0
74 |  |  | TOGGLE SWITCH, MOTORIZED DAMPER, @A | 6 | 0% | 6 | EA | 0 | 0 | 0
75 |  |  | ELECTRICAL POWER PANEL PP-6 | 1 | 0% | 1 | EA | 0 | 0 | 0
76 |  |  | PLUG UNIT, 200A | 2 | 0% | 2 | EA | 0 | 0 | 0
77 |  |  | 4#3/0+1#6GND WIRE | 196 | 0% | 196 | LF | 0 | 0 | 0
78 |  |  | 4#350KCMIL+1#3/0GND WIRE | 460 | 0% | 460 | LF | 0 | 0 | 0
|  | E-107.00 | SEVENTH FLOOR PLAN
79 |  |  | L-1, STAIRWELL, PARKING RECEPTACLE,@C | 4 | 0% | 4 | EA | 0 | 0 | 0
80 |  |  | GFI APPLIANCE RECEPTACLE, PARKING GFCI, @A | 6 | 0% | 6 | EA | 0 | 0 | 0
81 |  |  | STARTER & DISCONNECT, ACU-1-1, @C | 7 | 0% | 7 | EA | 0 | 0 | 0
82 |  |  | SURVELLANCE CAMERA | 1 | 0% | 1 | EA | 0 | 0 | 0
83 |  |  | TOGGLE SWITCH, MOTORIZED DAMPER, @A | 2 | 0% | 2 | EA | 0 | 0 | 0
84 |  |  | ELECTRICAL POWER PANEL HP-ELEV | 1 | 0% | 1 | EA | 0 | 0 | 0
85 |  |  | IEM STORAGE | 2 | 0% | 2 | EA | 0 | 0 | 0
86 |  |  | TELEPHONE | 1 | 0% | 1 | EA | 0 | 0 | 0
87 |  |  | LOCKABLE SWITCH | 2 | 0% | 2 | EA | 0 | 0 | 0
88 |  |  | COMIBINATION DISCONNECT RATING 200A, | 6 | 0% | 6 | EA | 0 | 0 | 0
89 |  |  | MOTOR, 25HP | 2 | 0% | 2 | EA | 0 | 0 | 0
SUB TOTAL | [9 empty] | 0 | 0
OVERHEAD |  |  |  | 9% | [5 empty] | 0 | 0
INSURANCE |  |  |  | 5% | [5 empty] | 0 | 0
CONTINGENCY |  |  |  | 3% | [5 empty] | 0 | 0
TOTAL BID | [9 empty] | 0 | 0
ELECTRICAL TAKEOFF

## ELECTRICAL - SUMMARY
PROJECT ID : 801 CO OP
SR # | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT OF MEASURMENT | MATERIAL COST | LABOR COST | TOTAL ITEM COST | TOTAL TRADE COST
| ELECTRICAL WORK | [7 empty] | 0
1 | L-1, STAIRWELL, PARKING RECEPTACLE, @C | 28 | 0 | 28 | EA | 0 | 0 | 0
2 | TOGGLE SWITCH, MOTORIZED DAMPER, @A | 32 | 0 | 32 | EA | 0 | 0 | 0
3 | ELECTRICAL POWER PANEL HP-1 | 1 | 0 | 1 | EA | 0 | 0 | 0
4 | ELECTRICAL POWER PANEL HP-P | 1 | 0 | 1 | EA | 0 | 0 | 0
5 | APPLIANCE RECEPTACLE, ELEVATOR LIGHTING, @B | 70 | 0 | 70 | EA | 0 | 0 | 0
6 | SURVELLANCE CAMERA | 15 | 0 | 15 | EA | 0 | 0 | 0
7 | GFI APPLIANCE RECEPTACLE, PARKING GFCI, @A | 16 | 0 | 16 | EA | 0 | 0 | 0
8 | STARTER & DISCONNECT, ACU-1-1, @C | 10 | 0 | 10 | EA | 0 | 0 | 0
9 | SENSOR SWITCH nWSX PDT LV DX | 2 | 0 | 2 | EA | 0 | 0 | 0
10 | JUNCTION BOX, TELECOM, @A | 3 | 0 | 3 | EA | 0 | 0 | 0
11 | QUAD QUTLET, TELECOM SERVICE, @B | 8 | 0 | 8 | EA | 0 | 0 | 0
12 | SENSOR SWITCH WSX VA | 1 | 0 | 1 | EA | 0 | 0 | 0
13 | SENSOR SWITCH WSX PDT | 1 | 0 | 1 | EA | 0 | 0 | 0
14 | ELECTRICAL POWER PANEL PP-4 | 1 | 0 | 1 | EA | 0 | 0 | 0
15 | ELECTRICAL POWER PANEL PP-5 | 1 | 0 | 1 | EA | 0 | 0 | 0
16 | ELECTRICAL POWER PANEL PP-6 | 1 | 0 | 1 | EA | 0 | 0 | 0
17 | ELECTRICAL POWER PANEL HP-ELEV | 1 | 0 | 1 | EA | 0 | 0 | 0
18 | TELEPHONE | 1 | 0 | 1 | EA | 0 | 0 | 0
19 | LOCKABLE SWITCH | 2 | 0 | 2 | EA | 0 | 0 | 0
20 | A.T.S#4, 600A SWITCH | 1 | 0 | 1 | EA | 0 | 0 | 0
21 | A.T.S #3, 100A SWITCH | 1 | 0 | 1 | EA | 0 | 0 | 0
22 | A.T.S #1, 200A SWITCH | 1 | 0 | 1 | EA | 0 | 0 | 0
23 | HP-1, 200A | 2 | 0 | 2 | EA | 0 | 0 | 0
24 | HP-2, 200A | 1 | 0 | 1 | EA | 0 | 0 | 0
25 | HP-G, 200A | 1 | 0 | 1 | EA | 0 | 0 | 0
26 | GFP, 200A | 4 | 0 | 4 | EA | 0 | 0 | 0
27 | TVSS, 200A | 1 | 0 | 1 | EA | 0 | 0 | 0
28 | MANHOLE | 2 | 0 | 2 | EA | 0 | 0 | 0
29 | WP, 600ASW | 1 | 0 | 1 | EA | 0 | 0 | 0
30 | A.T.S#2, 100A SWITCH | 2 | 0 | 2 | EA | 0 | 0 | 0
31 | MOTOR, 60HP | 1 | 0 | 1 | EA | 0 | 0 | 0
32 | MOTOR, 5HP | 3 | 0 | 3 | EA | 0 | 0 | 0
33 | MOTOR, 3HP | 2 | 0 | 2 | EA | 0 | 0 | 0
34 | MOTOR, 7.5HP | 2 | 0 | 2 | EA | 0 | 0 | 0
35 | MOTOR, 1.5HP | 1 | 0 | 1 | EA | 0 | 0 | 0
36 | MOTOR, 350KW | 1 | 0 | 1 | EA | 0 | 0 | 0
37 | GROUNDIG BUS BAR | 6 | 0 | 6 | EA | 0 | 0 | 0
38 | PLUG UNIT, 200A | 6 | 0 | 6 | EA | 0 | 0 | 0
39 | COMIBINATION DISCONNECT RATING 200A, | 6 | 0 | 6 | EA | 0 | 0 | 0
40 | MOTOR, 25HP | 2 | 0 | 2 | EA | 0 | 0 | 0
41 | 4#600KCMIL WIRE | 8568 | 0 | 8568 | LF | 0 | 0 | 0
42 | 4#300KCMIL+1#1/OGND+1#1/0 WIRE | 141 | 0 | 141 | LF | 0 | 0 | 0
43 | 4#350KCMIL+1#3/OGND WIRE | 1696 | 0 | 1696 | LF | 0 | 0 | 0
44 | 4#10+1#10GND WIRE | 196 | 0 | 196 | LF | 0 | 0 | 0
45 | 4#4/0+1#1GND WIRE | 217 | 0 | 217 | LF | 0 | 0 | 0
46 | 4#4+1#1GND WIRE | 226 | 0 | 226 | LF | 0 | 0 | 0
47 | 4#50KCMIL+1#3GND WIRE | 152 | 0 | 152 | LF | 0 | 0 | 0
48 | 4#2+1#8GND WIRE | 331 | 0 | 331 | LF | 0 | 0 | 0
49 | 4#8+1#10GND WIRE | 271 | 0 | 271 | LF | 0 | 0 | 0
50 | 4#3+1#6GND WIRE | 161 | 0 | 161 | LF | 0 | 0 | 0
51 | 4#300KCLIL + 1#1GND WIRE | 142 | 0 | 142 | LF | 0 | 0 | 0
52 | 800A 3PH WIRE | 102 | 0 | 102 | LF | 0 | 0 | 0
53 | 4#3/0+1#6GND WIRE | 1998 | 0 | 1998 | LF | 0 | 0 | 0
54 | 4#2+1#6GND WIRE | 176 | 0 | 176 | LF | 0 | 0 | 0
55 | 4#1/0+1#6GND WIRE | 363 | 0 | 363 | LF | 0 | 0 | 0
56 | 4#350KCMIL+1#3/OGND WIRE | 320 | 0 | 320 | LF | 0 | 0 | 0
57 | 4#350KCMIL+1#3/OGND WIRE | 160 | 0 | 160 | LF | 0 | 0 | 0
58 | 4#3/0+1#6GND WIRE | 230 | 0 | 230 | LF | 0 | 0 | 0
59 | 4#350KCMIL+1#3/OGND WIRE | 600 | 0 | 600 | LF | 0 | 0 | 0
60 | 4#3/0+1#6GND WIRE | 196 | 0 | 196 | LF | 0 | 0 | 0
61 | 4#350KCMIL+1#3/0GND WIRE | 460 | 0 | 460 | LF | 0 | 0 | 0
SUB TOTAL | [7 empty] | 0 | 0
OVERHEAD |  |  |  | 9% |  |  |  | 0 | 0
INSURANCE |  |  |  | 5% |  |  |  | 0 | 0
CONTINGENCY |  |  |  | 3% |  |  |  | 0 | 0
TOTAL BID | [7 empty] | 0 | 0
ELECTRICAL TAKEOFF

## Sheet2 (hidden)
DP01 DEMO (E) STAIR AND LANDING, PATCH AND REPAIRE ADJACENT WALL. | DEMOLITION
DP02 DEMO (E) WALL, PATCH AND REPAIR ADJACENT AREA.
DP03 DEMO (E) WALL FOR NEW DOOR/ GATE OPENING.
DP04 DEMO (E) WALL ABOVE (N) ADA PARKING STALL AREA TO RECEIVE (N) SLAB, PATCH AND REPAIR ADJACENT AREA.
DP05 DEMO (E) CHAINLINK FENCE.
DP06 DEMO (E) FLOOR SLAB FOR NEW PLUMBING TRENCH AND PIPES, PATCH AND REPAIR ADJACENT AREA.
DP07 DEMO (E) DOOR, INFILL OPENING, PATCH AND REPAIRE ADJACENT WALL.
DP08 DEMO (E) FLOOR SLAB.
DP09 DEMO (E) ABOVE AND BELOW GRADE STRUCTURE AND FOUNDATION ON SITE, SEE GENERAL NOTES FOR DETAILS.
DP11 REMOVER (E) PARKING STRIP FOR RE-STRIPING.
DP22 DEMO (E) PLASTER FENCE WALL AND GATE AT (E) TRANSFORMER.
DP23 DEMO (E) TRANSFORER PAD AND FLOOR SLAB; SEE ELEC. AND ST.DWGS.
DP24 DEMO (E) WOOD FENCE, TYP.
DP25 DEMO (E) EXISTING CURB CUT, GUTTER AND AC PAVER. SEE CIVIL DWGS.
DP26 (E) CMU WALL TO REMAIN. REMOVE (E) WOOD FENCE (WHERE OCCURS) AND PREPARE FOR EXTENSION OF (E) CMU WALL.
SP02 REMOVE EXISTING CURB CUT, PATCH AND REPAIR TO MATCH ADJACENT.
EL01 CUSTOM DECORATIVE STEEL SCREEN PANELS W/ VARYING DENSITY PATTERN, PAINTED FINISH - COLOR TBD, SEE SHEET A9.4 FOR MORE INFO. | EXTERIOR FINISHES
EL02 WHITE CORRUGATED METAL RAIN SCREEN, KYNAR FINISH, PERFORATION/PATTERN TBD, SEE SHEET A9.5 FOR MORE INFO.
EL03 VERTICAL STANDING SEAM METAL PANEL SYSTEM RHEINZINK OR PAINTED FACTORY FINISH - COLOR TBD
EL04 WINDOW WITH DECORATIVE METAL PANEL W/ FACTORY FINISH, CONTRASTING COLOR TBD
EL06 WINDOW SYSTEM W/ FACTORY APPLIED KYNAR FINISH, COLOR T.B.D. SEE SHEET A9.3 FOR MORE INFO.
EL07 MECH. LOUVER INTERGRATED WITH (CURTAIN WALL) WINDOW SYSTEM W/ FACTORY APPLIED KYNAR FINISHE, COLOR TO MATCH WINODW FRAME.
EL08 CANOPY WITIH METAL CLADDING PANEL WITH FACTORY APPLIED FINISH, COLOR: T.B.D. WITH INTERGRATED LIGHTING FIXTURES.
EL09 CONCRETE PARAPET WALL WITH INTERGRATED LIGHTING FIXTURES WHERE OCCURS, SEE ELEC. DRAWING FOR MORE INFO.
EL10 GREEN ROOF/ PLANTER, DRAINAGE AND IRRIGATION SYSTEM RAISED OVER WATERPROOFED CAST IN PLACE CONCRETE SLAB
EL15 PAINTED HOLLOW METAL DOOR, COLOR: T.B.D. SEE SHEET A9.1 FOR MORE INFO.
EL16 GREEN WALL/PUBLIC ART PROJECT
EL17 CUSTOM DECORATIVE STEEL SCREEN PANELS, PAINTED FINISH - COLOR TBD
EL18 ELEVATOR DOORS STAINLESS STEEL ELEVATOR DOORS AND FRAMES
EL19 CAST IN PLACE CONCRETE STAIRS
EL26 GREEN WALL WITH IRRIGATION SYSTEM AND SUBFRAME SYSTEM
EL27 MECH. LOUVER W/ FACTORY APPLIED KYNAR FINISHE, COLOR: T.B.D.SEE A9.3 & MECH. DRAWING FOR MORE INFO.
EL31 OUTDOOR SEATING AREA WITH DECORATIVE METAL RAIL (FINISH: T.B.D.) AND PLANTER.
EL32 SOUTH ALLEY CONTROL GATE WITH PANIC HARDWARE AND CLOSER.
EL34 ACCESS PANEL.
EL35 BACK LIT METAL BUILDING SIGNAGE.
EP02 DECORATIVE ALUMINUM SCREEN WALL WITH FACTORY APPLIED FINISH. COLOR: T.B.D. SEE A9.4 FOR PAN EL SCHEDULE | MISC
EP06 COMBINATION PIPE GUARDRAIL WITH 36" HIGH HANDRAIL. END OF HANDRAIL EXTENSIONRETURN TO GUARD
EP07 GLASS GUARDRAIL
EP09 36" HIGH PIPE HANDRAIL, WALLMOUNTED

## ENERGY - BREAKDOWN
PROJECT ID : 801 CO OP
ENERGY ANALYSIS
SR # | CSI DIV | DWG # | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT OF MEASURMENT | MATERIAL COST | LABOR COST | TOTAL ITEM COST | TOTAL TRADE COST
| DIV.26 |  | ENERGY ANALYSIS | [7 empty] | 0
|  | EN-101.00 | FIRST FLOOR PLAN
1 |  |  | S-2, CONTROL AND CLOCK, RECEPTACLES, @B | 5 | 0% | 5 | EA | 0 | 0 | 0
2 |  |  | S-1 GARAGE, PARKING LIGHTING, @A | 5 | 0% | 5 | EA | 0 | 0 | 0
3 |  |  | PGX, GARAGE, STAIRWELL LIGHTING, @A | 32 | 0% | 32 | EA | 0 | 0 | 0
4 |  |  | IEM, STORAGE | 3 | 0% | 3 | EA | 0 | 0 | 0
5 |  |  | K, LOBBY LIGHTING, @B | 3 | 0% | 3 | EA | 0 | 0 | 0
|  | EN-102.00 | SECOND FLOOR PLAN
6 |  |  | PGX, GARAGE, STAIRWELL LIGHTING, @A | 29 | 0% | 29 | EA | 0 | 0 | 0
7 |  |  | K, LOBBY LIGHTING, @C | 13 | 0% | 13 | EA | 0 | 0 | 0
|  | EN-103.00 | THIRD FLOOR PLAN
8 |  |  | PGX, GARAGE, PARKING LIGHTING, @A | 34 | 0% | 34 | EA | 0 | 0 | 0
9 |  |  | K, LOBBY LIGHYING, @A | 3 | 0% | 3 | EA | 0 | 0 | 0
|  | EN-104.00 | FOURTH FLOOR PLAN
11 |  |  | T, OPEN SPACE | 17 | 0% | 17 | EA | 0 | 0 | 0
12 |  |  | SWITCH, FLOOR LIGHTING, @C | 3 | 0% | 3 | EA | 0 | 0 | 0
13 |  |  | IEM, STORAGE | 3 | 0% | 3 | EA | 0 | 0 | 0
|  | EN-105.00 | FIFTH FLOOR PLAN
14 |  |  | T, OPEN SPACE | 19 | 0% | 19 | EA | 0 | 0 | 0
15 |  |  | SWITCH, FLOOR LIGHTING, @C | 4 | 0% | 4 | EA | 0 | 0 | 0
16 |  |  | IEM, STORAGE | 3 | 0% | 3 | EA | 0 | 0 | 0
|  | EN-106.00 | SIXTH FLOOR PLAN
17 |  |  | T, OPEN SPACE | 14 | 0% | 14 | EA | 0 | 0 | 0
18 |  |  | SWITCH, FLOOR LIGHTING, @C | 3 | 0% | 3 | EA | 0 | 0 | 0
19 |  |  | IEM, STORAGE | 3 | 0% | 3 | EA | 0 | 0 | 0
|  | EN-107.00 | SEVENTH FLOOR PLAN
20 |  |  | IEM, STORAGE | 6 | 0% | 6 | EA | 0 | 0 | 0
SUB TOTAL | [9 empty] | 0 | 0
OVERHEAD |  |  |  | 9% | [5 empty] | 0 | 0
INSURANCE |  |  |  | 5% | [5 empty] | 0 | 0
CONTINGENCY |  |  |  | 3% | [5 empty] | 0 | 0
TOTAL BID | [9 empty] | 0 | 0
ENERGY TAKEOFF

## ENERGY - SUMMARY
PROJECT ID : 801 CO OP
SR # | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT OF MEASURMENT | MATERIAL COST | LABOR COST | TOTAL ITEM COST | TOTAL TRADE COST
| ENERGY ANALYSIS | [7 empty] | 0
1 | S-2, CONTROL AND CLOCK, RECEPTACLES, @B | 5 | 0 | 5 | EA | 0 | 0 | 0
2 | S-1 GARAGE, PARKING LIGHTING, @A | 5 | 0 | 5 | EA | 0 | 0 | 0
3 | PGX, GARAGE, STAIRWELL LIGHTING, @A | 74 | 0 | 74 | EA | 0 | 0 | 0
4 | IEM, STORAGE | 21 | 0 | 21 | EA | 0 | 0 | 0
5 | K, LOBBY LIGHTING, @B | 19 | 0 | 19 | EA | 0 | 0 | 0
6 | T, OPEN SPACE | 50 | 0 | 50 | EA | 0 | 0 | 0
7 | SWITCH, FLOOR LIGHTING, @C | 10 | 0 | 10 | EA | 0 | 0 | 0
SUB TOTAL | [7 empty] | 0 | 0
OVERHEAD |  |  |  | 9% |  |  |  | 0 | 0
INSURANCE |  |  |  | 5% |  |  |  | 0 | 0
CONTINGENCY |  |  |  | 3% |  |  |  | 0 | 0
TOTAL BID | [7 empty] | 0 | 0
ENERGY TAKEOFF